## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-9 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB-IDF-ROOM-ENTRANCE | 10 | 10 | 10 | 04bd5283-ce3e-27a9-452f-f352e76f80fb | IN-BLR-BCPWK | HLI-9 | HLI-9 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2561906563582972
HLI-909 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB-IDF-ROOM-ENTRANCE | 10 | 10 | 10 | 44f94c70-3dc1-3dea-3dfa-fefe139921dc | IN-BLR-BCPWK | HLI-909 | HLI-909 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2663448010426311
HLI-19 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-01 | 10 | 10 | 10 | d0d61a50-2d14-3d65-4da1-0ddb26c324c9 | IN-BLR-BCPWK | HLI-19 | HLI-19 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2608169612030747
HLI-1919 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 53872fa8-f41c-331e-84d4-a675452b1338 | IN-BLR-BCPWK | HLI-1919 | HLI-1919 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2651462415261499
HLI-34 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 4F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 1c54b649-b6d9-27ba-b36c-69ae06c944e8 | IN-BLR-BCPWK | HLI-34 | HLI-34 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2773100014242099
HLI-3434 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 4F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 0c401383-4761-ae75-bcfd-b6baf0f5ba61 | IN-BLR-BCPWK | HLI-3434 | HLI-3434 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2809538202596405
HLI-53 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 7F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 7aa49dfb-37fa-f414-18f7-db24b54734cd | IN-BLR-BCPWK | HLI-53 | HLI-53 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2601288291233482
HLI-65 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 9F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 8546f79b-2fe7-a329-0f2f-fff26de20b0e | IN-BLR-BCPWK | HLI-65 | HLI-65 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2695652608784047
EM-01 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 9F-NORTH-WING-AHU-01 | 10 | 10 | 10 | [5 empty] | Virtual | EM_PWM_AVCM_PWMRDM |  |  |  | HLI-9 | HLI-9

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
hli-9 | average_line_current_sensor_01 | amperes |  | average_line_current_sensor_01 | amperes: amperes
hli-9 | average_line_neutral_voltage_sensor_01 | volts |  | average_line_neutral_voltage_sensor_01 | volts: volts
hli-9 | line_frequency_sensor_01 | hertz |  | line_frequency_sensor_01 | hertz: hertz
hli-9 | powerfactor_sensor_01 | no_units |  | powerfactor_sensor_01 | no_units: no_units
hli-9 | power_sensor_01 | kilowatts |  | power_sensor_01 | kilowatts: kilowatts
hli-9 | electricalgrid_energy_accumulator_01 | kilowatt_hours |  | electricalgrid_energy_accumulator_01 | kilowatt_hours: kilowatt_hours
hli-9 | generator_energy_accumulator_01 | kilowatt_hours |  | generator_energy_accumulator_01 | kilowatt_hours: kilowatt_hours
hli-9 | energy_accumulator_01 | kilowatt_hours |  | energy_accumulator_01 | kilowatt_hours: kilowatt_hours
hli-9 | average_line_current_sensor_02 | amperes |  | average_line_current_sensor_02 | amperes: amperes
hli-9 | average_line_neutral_voltage_sensor_02 | volts |  | average_line_neutral_voltage_sensor_02 | volts: volts
hli-9 | line_frequency_sensor_02 | hertz |  | line_frequency_sensor_02 | hertz: hertz
hli-9 | powerfactor_sensor_02 | no_units |  | powerfactor_sensor_02 | no_units: no_units
hli-9 | power_sensor_02 | kilowatts |  | power_sensor_02 | kilowatts: kilowatts
hli-9 | electricalgrid_energy_accumulator_02 | kilowatt_hours |  | electricalgrid_energy_accumulator_02 | kilowatt_hours: kilowatt_hours
hli-9 | generator_energy_accumulator_02 | kilowatt_hours |  | generator_energy_accumulator_02 | kilowatt_hours: kilowatt_hours
hli-9 | energy_accumulator_02 | kilowatt_hours |  | energy_accumulator_02 | kilowatt_hours: kilowatt_hours
hli-9 | average_line_current_sensor_03 | amperes |  | average_line_current_sensor_03 | amperes: amperes
hli-9 | average_line_neutral_voltage_sensor_03 | volts |  | average_line_neutral_voltage_sensor_03 | volts: volts
hli-9 | line_frequency_sensor_03 | hertz |  | line_frequency_sensor_03 | hertz: hertz
hli-9 | powerfactor_sensor_03 | no_units |  | powerfactor_sensor_03 | no_units: no_units
hli-9 | power_sensor_03 | kilowatts |  | power_sensor_03 | kilowatts: kilowatts
hli-9 | electricalgrid_energy_accumulator_03 | kilowatt_hours |  | electricalgrid_energy_accumulator_03 | kilowatt_hours: kilowatt_hours
hli-9 | generator_energy_accumulator_03 | kilowatt_hours |  | generator_energy_accumulator_03 | kilowatt_hours: kilowatt_hours
hli-9 | energy_accumulator_03 | kilowatt_hours |  | energy_accumulator_03 | kilowatt_hours: kilowatt_hours
hli-9 | average_line_current_sensor_04 | amperes |  | average_line_current_sensor_04 | amperes: amperes
hli-9 | average_line_neutral_voltage_sensor_04 | volts |  | average_line_neutral_voltage_sensor_04 | volts: volts
hli-9 | line_frequency_sensor_04 | hertz |  | line_frequency_sensor_04 | hertz: hertz
hli-9 | powerfactor_sensor_04 | no_units |  | powerfactor_sensor_04 | no_units: no_units
hli-9 | power_sensor_04 | kilowatts |  | power_sensor_04 | kilowatts: kilowatts
hli-9 | electricalgrid_energy_accumulator_04 | kilowatt_hours |  | electricalgrid_energy_accumulator_04 | kilowatt_hours: kilowatt_hours
hli-9 | generator_energy_accumulator_04 | kilowatt_hours |  | generator_energy_accumulator_04 | kilowatt_hours: kilowatt_hours
hli-9 | energy_accumulator_04 | kilowatt_hours |  | energy_accumulator_04 | kilowatt_hours: kilowatt_hours
hli-9 | average_line_current_sensor_05 | amperes |  | average_line_current_sensor_05 | amperes: amperes
hli-9 | average_line_neutral_voltage_sensor_05 | volts |  | average_line_neutral_voltage_sensor_05 | volts: volts
hli-9 | line_frequency_sensor_05 | hertz |  | line_frequency_sensor_05 | hertz: hertz
hli-9 | powerfactor_sensor_05 | no_units |  | powerfactor_sensor_05 | no_units: no_units
hli-9 | power_sensor_05 | kilowatts |  | power_sensor_05 | kilowatts: kilowatts
hli-9 | electricalgrid_energy_accumulator_05 | kilowatt_hours |  | electricalgrid_energy_accumulator_05 | kilowatt_hours: kilowatt_hours
hli-9 | generator_energy_accumulator_05 | kilowatt_hours |  | generator_energy_accumulator_05 | kilowatt_hours: kilowatt_hours
hli-9 | energy_accumulator_05 | kilowatt_hours |  | energy_accumulator_05 | kilowatt_hours: kilowatt_hours
hli-9 | average_line_current_sensor_06 | amperes |  | average_line_current_sensor_06 | amperes: amperes
hli-9 | average_line_neutral_voltage_sensor_06 | volts |  | average_line_neutral_voltage_sensor_06 | volts: volts
hli-9 | line_frequency_sensor_06 | hertz |  | line_frequency_sensor_06 | hertz: hertz
hli-9 | powerfactor_sensor_06 | no_units |  | powerfactor_sensor_06 | no_units: no_units
hli-9 | power_sensor_06 | kilowatts |  | power_sensor_06 | kilowatts: kilowatts
hli-9 | electricalgrid_energy_accumulator_06 | kilowatt_hours |  | electricalgrid_energy_accumulator_06 | kilowatt_hours: kilowatt_hours
hli-9 | generator_energy_accumulator_06 | kilowatt_hours |  | generator_energy_accumulator_06 | kilowatt_hours: kilowatt_hours
hli-9 | energy_accumulator_06 | kilowatt_hours |  | energy_accumulator_06 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_07 | amperes |  | average_line_current_sensor_07 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_07 | volts |  | average_line_neutral_voltage_sensor_07 | volts: volts
HLI-909 | line_frequency_sensor_07 | hertz |  | line_frequency_sensor_07 | hertz: hertz
HLI-909 | powerfactor_sensor_07 | no_units |  | powerfactor_sensor_07 | no_units: no_units
HLI-909 | power_sensor_07 | kilowatts |  | power_sensor_07 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_07 | kilowatt_hours |  | electricalgrid_energy_accumulator_07 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_07 | kilowatt_hours |  | generator_energy_accumulator_07 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_07 | kilowatt_hours |  | energy_accumulator_07 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_08 | amperes |  | average_line_current_sensor_08 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_08 | volts |  | average_line_neutral_voltage_sensor_08 | volts: volts
HLI-909 | line_frequency_sensor_08 | hertz |  | line_frequency_sensor_08 | hertz: hertz
HLI-909 | powerfactor_sensor_08 | no_units |  | powerfactor_sensor_08 | no_units: no_units
HLI-909 | power_sensor_08 | kilowatts |  | power_sensor_08 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_08 | kilowatt_hours |  | electricalgrid_energy_accumulator_08 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_08 | kilowatt_hours |  | generator_energy_accumulator_08 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_08 | kilowatt_hours |  | energy_accumulator_08 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_09 | amperes |  | average_line_current_sensor_09 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_09 | volts |  | average_line_neutral_voltage_sensor_09 | volts: volts
HLI-909 | line_frequency_sensor_09 | hertz |  | line_frequency_sensor_09 | hertz: hertz
HLI-909 | powerfactor_sensor_09 | no_units |  | powerfactor_sensor_09 | no_units: no_units
HLI-909 | power_sensor_09 | kilowatts |  | power_sensor_09 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_09 | kilowatt_hours |  | electricalgrid_energy_accumulator_09 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_09 | kilowatt_hours |  | generator_energy_accumulator_09 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_09 | kilowatt_hours |  | energy_accumulator_09 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_10 | amperes |  | average_line_current_sensor_10 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_10 | volts |  | average_line_neutral_voltage_sensor_10 | volts: volts
HLI-909 | line_frequency_sensor_10 | hertz |  | line_frequency_sensor_10 | hertz: hertz
HLI-909 | powerfactor_sensor_10 | no_units |  | powerfactor_sensor_10 | no_units: no_units
HLI-909 | power_sensor_10 | kilowatts |  | power_sensor_10 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_10 | kilowatt_hours |  | electricalgrid_energy_accumulator_10 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_10 | kilowatt_hours |  | generator_energy_accumulator_10 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_10 | kilowatt_hours |  | energy_accumulator_10 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_11 | amperes |  | average_line_current_sensor_11 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_11 | volts |  | average_line_neutral_voltage_sensor_11 | volts: volts
HLI-909 | line_frequency_sensor_11 | hertz |  | line_frequency_sensor_11 | hertz: hertz
HLI-909 | powerfactor_sensor_11 | no_units |  | powerfactor_sensor_11 | no_units: no_units
HLI-909 | power_sensor_11 | kilowatts |  | power_sensor_11 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_11 | kilowatt_hours |  | electricalgrid_energy_accumulator_11 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_11 | kilowatt_hours |  | generator_energy_accumulator_11 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_11 | kilowatt_hours |  | energy_accumulator_11 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_12 | amperes |  | average_line_current_sensor_12 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_12 | volts |  | average_line_neutral_voltage_sensor_12 | volts: volts
HLI-909 | line_frequency_sensor_12 | hertz |  | line_frequency_sensor_12 | hertz: hertz
HLI-909 | powerfactor_sensor_12 | no_units |  | powerfactor_sensor_12 | no_units: no_units
HLI-909 | power_sensor_12 | kilowatts |  | power_sensor_12 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_12 | kilowatt_hours |  | electricalgrid_energy_accumulator_12 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_12 | kilowatt_hours |  | generator_energy_accumulator_12 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_12 | kilowatt_hours |  | energy_accumulator_12 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_13 | amperes |  | average_line_current_sensor_13 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_13 | volts |  | average_line_neutral_voltage_sensor_13 | volts: volts
HLI-909 | line_frequency_sensor_13 | hertz |  | line_frequency_sensor_13 | hertz: hertz
HLI-909 | powerfactor_sensor_13 | no_units |  | powerfactor_sensor_13 | no_units: no_units
HLI-909 | power_sensor_13 | kilowatts |  | power_sensor_13 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_13 | kilowatt_hours |  | electricalgrid_energy_accumulator_13 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_13 | kilowatt_hours |  | generator_energy_accumulator_13 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_13 | kilowatt_hours |  | energy_accumulator_13 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_14 | amperes |  | average_line_current_sensor_14 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_14 | volts |  | average_line_neutral_voltage_sensor_14 | volts: volts
HLI-909 | line_frequency_sensor_14 | hertz |  | line_frequency_sensor_14 | hertz: hertz
HLI-909 | powerfactor_sensor_14 | no_units |  | powerfactor_sensor_14 | no_units: no_units
HLI-909 | power_sensor_14 | kilowatts |  | power_sensor_14 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_14 | kilowatt_hours |  | electricalgrid_energy_accumulator_14 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_14 | kilowatt_hours |  | generator_energy_accumulator_14 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_14 | kilowatt_hours |  | energy_accumulator_14 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_15 | amperes |  | average_line_current_sensor_15 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_15 | volts |  | average_line_neutral_voltage_sensor_15 | volts: volts
HLI-909 | line_frequency_sensor_15 | hertz |  | line_frequency_sensor_15 | hertz: hertz
HLI-909 | powerfactor_sensor_15 | no_units |  | powerfactor_sensor_15 | no_units: no_units
HLI-909 | power_sensor_15 | kilowatts |  | power_sensor_15 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_15 | kilowatt_hours |  | electricalgrid_energy_accumulator_15 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_15 | kilowatt_hours |  | generator_energy_accumulator_15 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_15 | kilowatt_hours |  | energy_accumulator_15 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_16 | amperes |  | average_line_current_sensor_16 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_16 | volts |  | average_line_neutral_voltage_sensor_16 | volts: volts
HLI-909 | line_frequency_sensor_16 | hertz |  | line_frequency_sensor_16 | hertz: hertz
HLI-909 | powerfactor_sensor_16 | no_units |  | powerfactor_sensor_16 | no_units: no_units
HLI-909 | power_sensor_16 | kilowatts |  | power_sensor_16 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_16 | kilowatt_hours |  | electricalgrid_energy_accumulator_16 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_16 | kilowatt_hours |  | generator_energy_accumulator_16 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_16 | kilowatt_hours |  | energy_accumulator_16 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_17 | amperes |  | average_line_current_sensor_17 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_17 | volts |  | average_line_neutral_voltage_sensor_17 | volts: volts
HLI-909 | line_frequency_sensor_17 | hertz |  | line_frequency_sensor_17 | hertz: hertz
HLI-909 | powerfactor_sensor_17 | no_units |  | powerfactor_sensor_17 | no_units: no_units
HLI-909 | power_sensor_17 | kilowatts |  | power_sensor_17 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_17 | kilowatt_hours |  | electricalgrid_energy_accumulator_17 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_17 | kilowatt_hours |  | generator_energy_accumulator_17 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_17 | kilowatt_hours |  | energy_accumulator_17 | kilowatt_hours: kilowatt_hours
HLI-9 | average_line_current_sensor_18 | amperes |  | average_line_current_sensor_18 | amperes: amperes
HLI-9 | average_line_neutral_voltage_sensor_18 | volts |  | average_line_neutral_voltage_sensor_18 | volts: volts
HLI-9 | line_frequency_sensor_18 | hertz |  | line_frequency_sensor_18 | hertz: hertz
HLI-9 | powerfactor_sensor_18 | no_units |  | powerfactor_sensor_18 | no_units: no_units
HLI-9 | power_sensor_18 | kilowatts |  | power_sensor_18 | kilowatts: kilowatts
HLI-9 | electricalgrid_energy_accumulator_18 | kilowatt_hours |  | electricalgrid_energy_accumulator_18 | kilowatt_hours: kilowatt_hours
HLI-9 | generator_energy_accumulator_18 | kilowatt_hours |  | generator_energy_accumulator_18 | kilowatt_hours: kilowatt_hours
HLI-9 | energy_accumulator_18 | kilowatt_hours |  | energy_accumulator_18 | kilowatt_hours: kilowatt_hours
HLI-9 | average_line_current_sensor_19 | amperes |  | average_line_current_sensor_19 | amperes: amperes
HLI-9 | average_line_neutral_voltage_sensor_19 | volts |  | average_line_neutral_voltage_sensor_19 | volts: volts
HLI-9 | line_frequency_sensor_19 | hertz |  | line_frequency_sensor_19 | hertz: hertz
HLI-9 | powerfactor_sensor_19 | no_units |  | powerfactor_sensor_19 | no_units: no_units
HLI-9 | power_sensor_19 | kilowatts |  | power_sensor_19 | kilowatts: kilowatts
HLI-9 | electricalgrid_energy_accumulator_19 | kilowatt_hours |  | electricalgrid_energy_accumulator_19 | kilowatt_hours: kilowatt_hours
HLI-9 | generator_energy_accumulator_19 | kilowatt_hours |  | generator_energy_accumulator_19 | kilowatt_hours: kilowatt_hours
HLI-9 | energy_accumulator_19 | kilowatt_hours |  | energy_accumulator_19 | kilowatt_hours: kilowatt_hours
HLI-9 | average_line_current_sensor_20 | amperes |  | average_line_current_sensor_20 | amperes: amperes
HLI-9 | average_line_neutral_voltage_sensor_20 | volts |  | average_line_neutral_voltage_sensor_20 | volts: volts
HLI-9 | line_frequency_sensor_20 | hertz |  | line_frequency_sensor_20 | hertz: hertz
HLI-9 | powerfactor_sensor_20 | no_units |  | powerfactor_sensor_20 | no_units: no_units
HLI-9 | power_sensor_20 | kilowatts |  | power_sensor_20 | kilowatts: kilowatts
HLI-9 | electricalgrid_energy_accumulator_20 | kilowatt_hours |  | electricalgrid_energy_accumulator_20 | kilowatt_hours: kilowatt_hours
HLI-9 | generator_energy_accumulator_20 | kilowatt_hours |  | generator_energy_accumulator_20 | kilowatt_hours: kilowatt_hours
HLI-9 | energy_accumulator_20 | kilowatt_hours |  | energy_accumulator_20 | kilowatt_hours: kilowatt_hours
HLI-9 | average_line_current_sensor_21 | amperes |  | average_line_current_sensor_21 | amperes: amperes
HLI-9 | average_line_neutral_voltage_sensor_21 | volts |  | average_line_neutral_voltage_sensor_21 | volts: volts
HLI-9 | line_frequency_sensor_21 | hertz |  | line_frequency_sensor_21 | hertz: hertz
HLI-9 | powerfactor_sensor_21 | no_units |  | powerfactor_sensor_21 | no_units: no_units
HLI-9 | power_sensor_21 | kilowatts |  | power_sensor_21 | kilowatts: kilowatts
HLI-9 | electricalgrid_energy_accumulator_21 | kilowatt_hours |  | electricalgrid_energy_accumulator_21 | kilowatt_hours: kilowatt_hours
HLI-9 | generator_energy_accumulator_21 | kilowatt_hours |  | generator_energy_accumulator_21 | kilowatt_hours: kilowatt_hours
HLI-9 | energy_accumulator_21 | kilowatt_hours |  | energy_accumulator_21 | kilowatt_hours: kilowatt_hours
HLI-9 | average_line_current_sensor_22 | amperes |  | average_line_current_sensor_22 | amperes: amperes
HLI-9 | average_line_neutral_voltage_sensor_22 | volts |  | average_line_neutral_voltage_sensor_22 | volts: volts
HLI-9 | line_frequency_sensor_22 | hertz |  | line_frequency_sensor_22 | hertz: hertz
HLI-9 | powerfactor_sensor_22 | no_units |  | powerfactor_sensor_22 | no_units: no_units
HLI-9 | power_sensor_22 | kilowatts |  | power_sensor_22 | kilowatts: kilowatts
HLI-9 | electricalgrid_energy_accumulator_22 | kilowatt_hours |  | electricalgrid_energy_accumulator_22 | kilowatt_hours: kilowatt_hours
HLI-9 | generator_energy_accumulator_22 | kilowatt_hours |  | generator_energy_accumulator_22 | kilowatt_hours: kilowatt_hours
HLI-9 | energy_accumulator_22 | kilowatt_hours |  | energy_accumulator_22 | kilowatt_hours: kilowatt_hours
HLI-9 | average_line_current_sensor_23 | amperes |  | average_line_current_sensor_23 | amperes: amperes
HLI-9 | average_line_neutral_voltage_sensor_23 | volts |  | average_line_neutral_voltage_sensor_23 | volts: volts
HLI-9 | line_frequency_sensor_23 | hertz |  | line_frequency_sensor_23 | hertz: hertz
HLI-9 | powerfactor_sensor_23 | no_units |  | powerfactor_sensor_23 | no_units: no_units
HLI-9 | power_sensor_23 | kilowatts |  | power_sensor_23 | kilowatts: kilowatts
HLI-9 | electricalgrid_energy_accumulator_23 | kilowatt_hours |  | electricalgrid_energy_accumulator_23 | kilowatt_hours: kilowatt_hours
HLI-9 | generator_energy_accumulator_23 | kilowatt_hours |  | generator_energy_accumulator_23 | kilowatt_hours: kilowatt_hours
HLI-9 | energy_accumulator_23 | kilowatt_hours |  | energy_accumulator_23 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_24 | amperes |  | average_line_current_sensor_24 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_24 | volts |  | average_line_neutral_voltage_sensor_24 | volts: volts
HLI-909 | line_frequency_sensor_24 | hertz |  | line_frequency_sensor_24 | hertz: hertz
HLI-909 | powerfactor_sensor_24 | no_units |  | powerfactor_sensor_24 | no_units: no_units
HLI-909 | power_sensor_24 | kilowatts |  | power_sensor_24 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_24 | kilowatt_hours |  | electricalgrid_energy_accumulator_24 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_24 | kilowatt_hours |  | generator_energy_accumulator_24 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_24 | kilowatt_hours |  | energy_accumulator_24 | kilowatt_hours: kilowatt_hours
HLI-909 | average_line_current_sensor_25 | amperes |  | average_line_current_sensor_25 | amperes: amperes
HLI-909 | average_line_neutral_voltage_sensor_25 | volts |  | average_line_neutral_voltage_sensor_25 | volts: volts
HLI-909 | line_frequency_sensor_25 | hertz |  | line_frequency_sensor_25 | hertz: hertz
HLI-909 | powerfactor_sensor_25 | no_units |  | powerfactor_sensor_25 | no_units: no_units
HLI-909 | power_sensor_25 | kilowatts |  | power_sensor_25 | kilowatts: kilowatts
HLI-909 | electricalgrid_energy_accumulator_25 | kilowatt_hours |  | electricalgrid_energy_accumulator_25 | kilowatt_hours: kilowatt_hours
HLI-909 | generator_energy_accumulator_25 | kilowatt_hours |  | generator_energy_accumulator_25 | kilowatt_hours: kilowatt_hours
HLI-909 | energy_accumulator_25 | kilowatt_hours |  | energy_accumulator_25 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_26 | amperes |  | average_line_current_sensor_26 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_26 | volts |  | average_line_neutral_voltage_sensor_26 | volts: volts
HLI-1919 | line_frequency_sensor_26 | hertz |  | line_frequency_sensor_26 | hertz: hertz
HLI-1919 | powerfactor_sensor_26 | no_units |  | powerfactor_sensor_26 | no_units: no_units
HLI-1919 | power_sensor_26 | kilowatts |  | power_sensor_26 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_26 | kilowatt_hours |  | electricalgrid_energy_accumulator_26 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_26 | kilowatt_hours |  | generator_energy_accumulator_26 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_26 | kilowatt_hours |  | energy_accumulator_26 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_27 | amperes |  | average_line_current_sensor_27 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_27 | volts |  | average_line_neutral_voltage_sensor_27 | volts: volts
HLI-1919 | line_frequency_sensor_27 | hertz |  | line_frequency_sensor_27 | hertz: hertz
HLI-1919 | powerfactor_sensor_27 | no_units |  | powerfactor_sensor_27 | no_units: no_units
HLI-1919 | power_sensor_27 | kilowatts |  | power_sensor_27 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_27 | kilowatt_hours |  | electricalgrid_energy_accumulator_27 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_27 | kilowatt_hours |  | generator_energy_accumulator_27 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_27 | kilowatt_hours |  | energy_accumulator_27 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_28 | amperes |  | average_line_current_sensor_28 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_28 | volts |  | average_line_neutral_voltage_sensor_28 | volts: volts
HLI-1919 | line_frequency_sensor_28 | hertz |  | line_frequency_sensor_28 | hertz: hertz
HLI-1919 | powerfactor_sensor_28 | no_units |  | powerfactor_sensor_28 | no_units: no_units
HLI-1919 | power_sensor_28 | kilowatts |  | power_sensor_28 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_28 | kilowatt_hours |  | electricalgrid_energy_accumulator_28 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_28 | kilowatt_hours |  | generator_energy_accumulator_28 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_28 | kilowatt_hours |  | energy_accumulator_28 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_29 | amperes |  | average_line_current_sensor_29 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_29 | volts |  | average_line_neutral_voltage_sensor_29 | volts: volts
HLI-1919 | line_frequency_sensor_29 | hertz |  | line_frequency_sensor_29 | hertz: hertz
HLI-1919 | powerfactor_sensor_29 | no_units |  | powerfactor_sensor_29 | no_units: no_units
HLI-1919 | power_sensor_29 | kilowatts |  | power_sensor_29 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_29 | kilowatt_hours |  | electricalgrid_energy_accumulator_29 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_29 | kilowatt_hours |  | generator_energy_accumulator_29 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_29 | kilowatt_hours |  | energy_accumulator_29 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_30 | amperes |  | average_line_current_sensor_30 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_30 | volts |  | average_line_neutral_voltage_sensor_30 | volts: volts
HLI-1919 | line_frequency_sensor_30 | hertz |  | line_frequency_sensor_30 | hertz: hertz
HLI-1919 | powerfactor_sensor_30 | no_units |  | powerfactor_sensor_30 | no_units: no_units
HLI-1919 | power_sensor_30 | kilowatts |  | power_sensor_30 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_30 | kilowatt_hours |  | electricalgrid_energy_accumulator_30 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_30 | kilowatt_hours |  | generator_energy_accumulator_30 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_30 | kilowatt_hours |  | energy_accumulator_30 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_31 | amperes |  | average_line_current_sensor_31 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_31 | volts |  | average_line_neutral_voltage_sensor_31 | volts: volts
HLI-19 | line_frequency_sensor_31 | hertz |  | line_frequency_sensor_31 | hertz: hertz
HLI-19 | powerfactor_sensor_31 | no_units |  | powerfactor_sensor_31 | no_units: no_units
HLI-19 | power_sensor_31 | kilowatts |  | power_sensor_31 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_31 | kilowatt_hours |  | electricalgrid_energy_accumulator_31 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_31 | kilowatt_hours |  | generator_energy_accumulator_31 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_31 | kilowatt_hours |  | energy_accumulator_31 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_32 | amperes |  | average_line_current_sensor_32 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_32 | volts |  | average_line_neutral_voltage_sensor_32 | volts: volts
HLI-19 | line_frequency_sensor_32 | hertz |  | line_frequency_sensor_32 | hertz: hertz
HLI-19 | powerfactor_sensor_32 | no_units |  | powerfactor_sensor_32 | no_units: no_units
HLI-19 | power_sensor_32 | kilowatts |  | power_sensor_32 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_32 | kilowatt_hours |  | electricalgrid_energy_accumulator_32 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_32 | kilowatt_hours |  | generator_energy_accumulator_32 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_32 | kilowatt_hours |  | energy_accumulator_32 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_33 | amperes |  | average_line_current_sensor_33 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_33 | volts |  | average_line_neutral_voltage_sensor_33 | volts: volts
HLI-1919 | line_frequency_sensor_33 | hertz |  | line_frequency_sensor_33 | hertz: hertz
HLI-1919 | powerfactor_sensor_33 | no_units |  | powerfactor_sensor_33 | no_units: no_units
HLI-1919 | power_sensor_33 | kilowatts |  | power_sensor_33 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_33 | kilowatt_hours |  | electricalgrid_energy_accumulator_33 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_33 | kilowatt_hours |  | generator_energy_accumulator_33 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_33 | kilowatt_hours |  | energy_accumulator_33 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_34 | amperes |  | average_line_current_sensor_34 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_34 | volts |  | average_line_neutral_voltage_sensor_34 | volts: volts
HLI-1919 | line_frequency_sensor_34 | hertz |  | line_frequency_sensor_34 | hertz: hertz
HLI-1919 | powerfactor_sensor_34 | no_units |  | powerfactor_sensor_34 | no_units: no_units
HLI-1919 | power_sensor_34 | kilowatts |  | power_sensor_34 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_34 | kilowatt_hours |  | electricalgrid_energy_accumulator_34 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_34 | kilowatt_hours |  | generator_energy_accumulator_34 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_34 | kilowatt_hours |  | energy_accumulator_34 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_35 | amperes |  | average_line_current_sensor_35 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_35 | volts |  | average_line_neutral_voltage_sensor_35 | volts: volts
HLI-1919 | line_frequency_sensor_35 | hertz |  | line_frequency_sensor_35 | hertz: hertz
HLI-1919 | powerfactor_sensor_35 | no_units |  | powerfactor_sensor_35 | no_units: no_units
HLI-1919 | power_sensor_35 | kilowatts |  | power_sensor_35 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_35 | kilowatt_hours |  | electricalgrid_energy_accumulator_35 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_35 | kilowatt_hours |  | generator_energy_accumulator_35 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_35 | kilowatt_hours |  | energy_accumulator_35 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_36 | amperes |  | average_line_current_sensor_36 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_36 | volts |  | average_line_neutral_voltage_sensor_36 | volts: volts
HLI-1919 | line_frequency_sensor_36 | hertz |  | line_frequency_sensor_36 | hertz: hertz
HLI-1919 | powerfactor_sensor_36 | no_units |  | powerfactor_sensor_36 | no_units: no_units
HLI-1919 | power_sensor_36 | kilowatts |  | power_sensor_36 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_36 | kilowatt_hours |  | electricalgrid_energy_accumulator_36 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_36 | kilowatt_hours |  | generator_energy_accumulator_36 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_36 | kilowatt_hours |  | energy_accumulator_36 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_37 | amperes |  | average_line_current_sensor_37 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_37 | volts |  | average_line_neutral_voltage_sensor_37 | volts: volts
HLI-1919 | line_frequency_sensor_37 | hertz |  | line_frequency_sensor_37 | hertz: hertz
HLI-1919 | powerfactor_sensor_37 | no_units |  | powerfactor_sensor_37 | no_units: no_units
HLI-1919 | power_sensor_37 | kilowatts |  | power_sensor_37 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_37 | kilowatt_hours |  | electricalgrid_energy_accumulator_37 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_37 | kilowatt_hours |  | generator_energy_accumulator_37 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_37 | kilowatt_hours |  | energy_accumulator_37 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_38 | amperes |  | average_line_current_sensor_38 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_38 | volts |  | average_line_neutral_voltage_sensor_38 | volts: volts
HLI-1919 | line_frequency_sensor_38 | hertz |  | line_frequency_sensor_38 | hertz: hertz
HLI-1919 | powerfactor_sensor_38 | no_units |  | powerfactor_sensor_38 | no_units: no_units
HLI-1919 | power_sensor_38 | kilowatts |  | power_sensor_38 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_38 | kilowatt_hours |  | electricalgrid_energy_accumulator_38 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_38 | kilowatt_hours |  | generator_energy_accumulator_38 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_38 | kilowatt_hours |  | energy_accumulator_38 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_39 | amperes |  | average_line_current_sensor_39 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_39 | volts |  | average_line_neutral_voltage_sensor_39 | volts: volts
HLI-1919 | line_frequency_sensor_39 | hertz |  | line_frequency_sensor_39 | hertz: hertz
HLI-1919 | powerfactor_sensor_39 | no_units |  | powerfactor_sensor_39 | no_units: no_units
HLI-1919 | power_sensor_39 | kilowatts |  | power_sensor_39 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_39 | kilowatt_hours |  | electricalgrid_energy_accumulator_39 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_39 | kilowatt_hours |  | generator_energy_accumulator_39 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_39 | kilowatt_hours |  | energy_accumulator_39 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_40 | amperes |  | average_line_current_sensor_40 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_40 | volts |  | average_line_neutral_voltage_sensor_40 | volts: volts
HLI-1919 | line_frequency_sensor_40 | hertz |  | line_frequency_sensor_40 | hertz: hertz
HLI-1919 | powerfactor_sensor_40 | no_units |  | powerfactor_sensor_40 | no_units: no_units
HLI-1919 | power_sensor_40 | kilowatts |  | power_sensor_40 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_40 | kilowatt_hours |  | electricalgrid_energy_accumulator_40 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_40 | kilowatt_hours |  | generator_energy_accumulator_40 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_40 | kilowatt_hours |  | energy_accumulator_40 | kilowatt_hours: kilowatt_hours
HLI-1919 | average_line_current_sensor_41 | amperes |  | average_line_current_sensor_41 | amperes: amperes
HLI-1919 | average_line_neutral_voltage_sensor_41 | volts |  | average_line_neutral_voltage_sensor_41 | volts: volts
HLI-1919 | line_frequency_sensor_41 | hertz |  | line_frequency_sensor_41 | hertz: hertz
HLI-1919 | powerfactor_sensor_41 | no_units |  | powerfactor_sensor_41 | no_units: no_units
HLI-1919 | power_sensor_41 | kilowatts |  | power_sensor_41 | kilowatts: kilowatts
HLI-1919 | electricalgrid_energy_accumulator_41 | kilowatt_hours |  | electricalgrid_energy_accumulator_41 | kilowatt_hours: kilowatt_hours
HLI-1919 | generator_energy_accumulator_41 | kilowatt_hours |  | generator_energy_accumulator_41 | kilowatt_hours: kilowatt_hours
HLI-1919 | energy_accumulator_41 | kilowatt_hours |  | energy_accumulator_41 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_42 | amperes |  | average_line_current_sensor_42 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_42 | volts |  | average_line_neutral_voltage_sensor_42 | volts: volts
HLI-19 | line_frequency_sensor_42 | hertz |  | line_frequency_sensor_42 | hertz: hertz
HLI-19 | powerfactor_sensor_42 | no_units |  | powerfactor_sensor_42 | no_units: no_units
HLI-19 | power_sensor_42 | kilowatts |  | power_sensor_42 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_42 | kilowatt_hours |  | electricalgrid_energy_accumulator_42 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_42 | kilowatt_hours |  | generator_energy_accumulator_42 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_42 | kilowatt_hours |  | energy_accumulator_42 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_43 | amperes |  | average_line_current_sensor_43 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_43 | volts |  | average_line_neutral_voltage_sensor_43 | volts: volts
HLI-19 | line_frequency_sensor_43 | hertz |  | line_frequency_sensor_43 | hertz: hertz
HLI-19 | powerfactor_sensor_43 | no_units |  | powerfactor_sensor_43 | no_units: no_units
HLI-19 | power_sensor_43 | kilowatts |  | power_sensor_43 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_43 | kilowatt_hours |  | electricalgrid_energy_accumulator_43 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_43 | kilowatt_hours |  | generator_energy_accumulator_43 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_43 | kilowatt_hours |  | energy_accumulator_43 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_44 | amperes |  | average_line_current_sensor_44 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_44 | volts |  | average_line_neutral_voltage_sensor_44 | volts: volts
HLI-3434 | line_frequency_sensor_44 | hertz |  | line_frequency_sensor_44 | hertz: hertz
HLI-3434 | powerfactor_sensor_44 | no_units |  | powerfactor_sensor_44 | no_units: no_units
HLI-3434 | power_sensor_44 | kilowatts |  | power_sensor_44 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_44 | kilowatt_hours |  | electricalgrid_energy_accumulator_44 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_44 | kilowatt_hours |  | generator_energy_accumulator_44 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_44 | kilowatt_hours |  | energy_accumulator_44 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_45 | amperes |  | average_line_current_sensor_45 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_45 | volts |  | average_line_neutral_voltage_sensor_45 | volts: volts
HLI-3434 | line_frequency_sensor_45 | hertz |  | line_frequency_sensor_45 | hertz: hertz
HLI-3434 | powerfactor_sensor_45 | no_units |  | powerfactor_sensor_45 | no_units: no_units
HLI-3434 | power_sensor_45 | kilowatts |  | power_sensor_45 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_45 | kilowatt_hours |  | electricalgrid_energy_accumulator_45 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_45 | kilowatt_hours |  | generator_energy_accumulator_45 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_45 | kilowatt_hours |  | energy_accumulator_45 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_46 | amperes |  | average_line_current_sensor_46 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_46 | volts |  | average_line_neutral_voltage_sensor_46 | volts: volts
HLI-3434 | line_frequency_sensor_46 | hertz |  | line_frequency_sensor_46 | hertz: hertz
HLI-3434 | powerfactor_sensor_46 | no_units |  | powerfactor_sensor_46 | no_units: no_units
HLI-3434 | power_sensor_46 | kilowatts |  | power_sensor_46 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_46 | kilowatt_hours |  | electricalgrid_energy_accumulator_46 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_46 | kilowatt_hours |  | generator_energy_accumulator_46 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_46 | kilowatt_hours |  | energy_accumulator_46 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_47 | amperes |  | average_line_current_sensor_47 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_47 | volts |  | average_line_neutral_voltage_sensor_47 | volts: volts
HLI-3434 | line_frequency_sensor_47 | hertz |  | line_frequency_sensor_47 | hertz: hertz
HLI-3434 | powerfactor_sensor_47 | no_units |  | powerfactor_sensor_47 | no_units: no_units
HLI-3434 | power_sensor_47 | kilowatts |  | power_sensor_47 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_47 | kilowatt_hours |  | electricalgrid_energy_accumulator_47 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_47 | kilowatt_hours |  | generator_energy_accumulator_47 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_47 | kilowatt_hours |  | energy_accumulator_47 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_48 | amperes |  | average_line_current_sensor_48 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_48 | volts |  | average_line_neutral_voltage_sensor_48 | volts: volts
HLI-3434 | line_frequency_sensor_48 | hertz |  | line_frequency_sensor_48 | hertz: hertz
HLI-3434 | powerfactor_sensor_48 | no_units |  | powerfactor_sensor_48 | no_units: no_units
HLI-3434 | power_sensor_48 | kilowatts |  | power_sensor_48 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_48 | kilowatt_hours |  | electricalgrid_energy_accumulator_48 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_48 | kilowatt_hours |  | generator_energy_accumulator_48 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_48 | kilowatt_hours |  | energy_accumulator_48 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_49 | amperes |  | average_line_current_sensor_49 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_49 | volts |  | average_line_neutral_voltage_sensor_49 | volts: volts
HLI-34 | line_frequency_sensor_49 | hertz |  | line_frequency_sensor_49 | hertz: hertz
HLI-34 | powerfactor_sensor_49 | no_units |  | powerfactor_sensor_49 | no_units: no_units
HLI-34 | power_sensor_49 | kilowatts |  | power_sensor_49 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_49 | kilowatt_hours |  | electricalgrid_energy_accumulator_49 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_49 | kilowatt_hours |  | generator_energy_accumulator_49 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_49 | kilowatt_hours |  | energy_accumulator_49 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_50 | amperes |  | average_line_current_sensor_50 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_50 | volts |  | average_line_neutral_voltage_sensor_50 | volts: volts
HLI-34 | line_frequency_sensor_50 | hertz |  | line_frequency_sensor_50 | hertz: hertz
HLI-34 | powerfactor_sensor_50 | no_units |  | powerfactor_sensor_50 | no_units: no_units
HLI-34 | power_sensor_50 | kilowatts |  | power_sensor_50 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_50 | kilowatt_hours |  | electricalgrid_energy_accumulator_50 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_50 | kilowatt_hours |  | generator_energy_accumulator_50 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_50 | kilowatt_hours |  | energy_accumulator_50 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_51 | amperes |  | average_line_current_sensor_51 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_51 | volts |  | average_line_neutral_voltage_sensor_51 | volts: volts
HLI-34 | line_frequency_sensor_51 | hertz |  | line_frequency_sensor_51 | hertz: hertz
HLI-34 | powerfactor_sensor_51 | no_units |  | powerfactor_sensor_51 | no_units: no_units
HLI-34 | power_sensor_51 | kilowatts |  | power_sensor_51 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_51 | kilowatt_hours |  | electricalgrid_energy_accumulator_51 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_51 | kilowatt_hours |  | generator_energy_accumulator_51 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_51 | kilowatt_hours |  | energy_accumulator_51 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_52 | amperes |  | average_line_current_sensor_52 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_52 | volts |  | average_line_neutral_voltage_sensor_52 | volts: volts
HLI-34 | line_frequency_sensor_52 | hertz |  | line_frequency_sensor_52 | hertz: hertz
HLI-34 | powerfactor_sensor_52 | no_units |  | powerfactor_sensor_52 | no_units: no_units
HLI-34 | power_sensor_52 | kilowatts |  | power_sensor_52 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_52 | kilowatt_hours |  | electricalgrid_energy_accumulator_52 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_52 | kilowatt_hours |  | generator_energy_accumulator_52 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_52 | kilowatt_hours |  | energy_accumulator_52 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_53 | amperes |  | average_line_current_sensor_53 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_53 | volts |  | average_line_neutral_voltage_sensor_53 | volts: volts
HLI-34 | line_frequency_sensor_53 | hertz |  | line_frequency_sensor_53 | hertz: hertz
HLI-34 | powerfactor_sensor_53 | no_units |  | powerfactor_sensor_53 | no_units: no_units
HLI-34 | power_sensor_53 | kilowatts |  | power_sensor_53 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_53 | kilowatt_hours |  | electricalgrid_energy_accumulator_53 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_53 | kilowatt_hours |  | generator_energy_accumulator_53 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_53 | kilowatt_hours |  | energy_accumulator_53 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_54 | amperes |  | average_line_current_sensor_54 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_54 | volts |  | average_line_neutral_voltage_sensor_54 | volts: volts
HLI-34 | line_frequency_sensor_54 | hertz |  | line_frequency_sensor_54 | hertz: hertz
HLI-34 | powerfactor_sensor_54 | no_units |  | powerfactor_sensor_54 | no_units: no_units
HLI-34 | power_sensor_54 | kilowatts |  | power_sensor_54 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_54 | kilowatt_hours |  | electricalgrid_energy_accumulator_54 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_54 | kilowatt_hours |  | generator_energy_accumulator_54 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_54 | kilowatt_hours |  | energy_accumulator_54 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_55 | amperes |  | average_line_current_sensor_55 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_55 | volts |  | average_line_neutral_voltage_sensor_55 | volts: volts
HLI-34 | line_frequency_sensor_55 | hertz |  | line_frequency_sensor_55 | hertz: hertz
HLI-34 | powerfactor_sensor_55 | no_units |  | powerfactor_sensor_55 | no_units: no_units
HLI-34 | power_sensor_55 | kilowatts |  | power_sensor_55 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_55 | kilowatt_hours |  | electricalgrid_energy_accumulator_55 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_55 | kilowatt_hours |  | generator_energy_accumulator_55 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_55 | kilowatt_hours |  | energy_accumulator_55 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_56 | amperes |  | average_line_current_sensor_56 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_56 | volts |  | average_line_neutral_voltage_sensor_56 | volts: volts
HLI-34 | line_frequency_sensor_56 | hertz |  | line_frequency_sensor_56 | hertz: hertz
HLI-34 | powerfactor_sensor_56 | no_units |  | powerfactor_sensor_56 | no_units: no_units
HLI-34 | power_sensor_56 | kilowatts |  | power_sensor_56 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_56 | kilowatt_hours |  | electricalgrid_energy_accumulator_56 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_56 | kilowatt_hours |  | generator_energy_accumulator_56 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_56 | kilowatt_hours |  | energy_accumulator_56 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_57 | amperes |  | average_line_current_sensor_57 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_57 | volts |  | average_line_neutral_voltage_sensor_57 | volts: volts
HLI-34 | line_frequency_sensor_57 | hertz |  | line_frequency_sensor_57 | hertz: hertz
HLI-34 | powerfactor_sensor_57 | no_units |  | powerfactor_sensor_57 | no_units: no_units
HLI-34 | power_sensor_57 | kilowatts |  | power_sensor_57 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_57 | kilowatt_hours |  | electricalgrid_energy_accumulator_57 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_57 | kilowatt_hours |  | generator_energy_accumulator_57 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_57 | kilowatt_hours |  | energy_accumulator_57 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_58 | amperes |  | average_line_current_sensor_58 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_58 | volts |  | average_line_neutral_voltage_sensor_58 | volts: volts
HLI-34 | line_frequency_sensor_58 | hertz |  | line_frequency_sensor_58 | hertz: hertz
HLI-34 | powerfactor_sensor_58 | no_units |  | powerfactor_sensor_58 | no_units: no_units
HLI-34 | power_sensor_58 | kilowatts |  | power_sensor_58 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_58 | kilowatt_hours |  | electricalgrid_energy_accumulator_58 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_58 | kilowatt_hours |  | generator_energy_accumulator_58 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_58 | kilowatt_hours |  | energy_accumulator_58 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_59 | amperes |  | average_line_current_sensor_59 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_59 | volts |  | average_line_neutral_voltage_sensor_59 | volts: volts
HLI-34 | line_frequency_sensor_59 | hertz |  | line_frequency_sensor_59 | hertz: hertz
HLI-34 | powerfactor_sensor_59 | no_units |  | powerfactor_sensor_59 | no_units: no_units
HLI-34 | power_sensor_59 | kilowatts |  | power_sensor_59 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_59 | kilowatt_hours |  | electricalgrid_energy_accumulator_59 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_59 | kilowatt_hours |  | generator_energy_accumulator_59 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_59 | kilowatt_hours |  | energy_accumulator_59 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_60 | amperes |  | average_line_current_sensor_60 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_60 | volts |  | average_line_neutral_voltage_sensor_60 | volts: volts
HLI-34 | line_frequency_sensor_60 | hertz |  | line_frequency_sensor_60 | hertz: hertz
HLI-34 | powerfactor_sensor_60 | no_units |  | powerfactor_sensor_60 | no_units: no_units
HLI-34 | power_sensor_60 | kilowatts |  | power_sensor_60 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_60 | kilowatt_hours |  | electricalgrid_energy_accumulator_60 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_60 | kilowatt_hours |  | generator_energy_accumulator_60 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_60 | kilowatt_hours |  | energy_accumulator_60 | kilowatt_hours: kilowatt_hours
HLI-34 | average_line_current_sensor_61 | amperes |  | average_line_current_sensor_61 | amperes: amperes
HLI-34 | average_line_neutral_voltage_sensor_61 | volts |  | average_line_neutral_voltage_sensor_61 | volts: volts
HLI-34 | line_frequency_sensor_61 | hertz |  | line_frequency_sensor_61 | hertz: hertz
HLI-34 | powerfactor_sensor_61 | no_units |  | powerfactor_sensor_61 | no_units: no_units
HLI-34 | power_sensor_61 | kilowatts |  | power_sensor_61 | kilowatts: kilowatts
HLI-34 | electricalgrid_energy_accumulator_61 | kilowatt_hours |  | electricalgrid_energy_accumulator_61 | kilowatt_hours: kilowatt_hours
HLI-34 | generator_energy_accumulator_61 | kilowatt_hours |  | generator_energy_accumulator_61 | kilowatt_hours: kilowatt_hours
HLI-34 | energy_accumulator_61 | kilowatt_hours |  | energy_accumulator_61 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_62 | amperes |  | average_line_current_sensor_62 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_62 | volts |  | average_line_neutral_voltage_sensor_62 | volts: volts
HLI-19 | line_frequency_sensor_62 | hertz |  | line_frequency_sensor_62 | hertz: hertz
HLI-19 | powerfactor_sensor_62 | no_units |  | powerfactor_sensor_62 | no_units: no_units
HLI-19 | power_sensor_62 | kilowatts |  | power_sensor_62 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_62 | kilowatt_hours |  | electricalgrid_energy_accumulator_62 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_62 | kilowatt_hours |  | generator_energy_accumulator_62 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_62 | kilowatt_hours |  | energy_accumulator_62 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_63 | amperes |  | average_line_current_sensor_63 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_63 | volts |  | average_line_neutral_voltage_sensor_63 | volts: volts
HLI-19 | line_frequency_sensor_63 | hertz |  | line_frequency_sensor_63 | hertz: hertz
HLI-19 | powerfactor_sensor_63 | no_units |  | powerfactor_sensor_63 | no_units: no_units
HLI-19 | power_sensor_63 | kilowatts |  | power_sensor_63 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_63 | kilowatt_hours |  | electricalgrid_energy_accumulator_63 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_63 | kilowatt_hours |  | generator_energy_accumulator_63 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_63 | kilowatt_hours |  | energy_accumulator_63 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_64 | amperes |  | average_line_current_sensor_64 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_64 | volts |  | average_line_neutral_voltage_sensor_64 | volts: volts
HLI-19 | line_frequency_sensor_64 | hertz |  | line_frequency_sensor_64 | hertz: hertz
HLI-19 | powerfactor_sensor_64 | no_units |  | powerfactor_sensor_64 | no_units: no_units
HLI-19 | power_sensor_64 | kilowatts |  | power_sensor_64 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_64 | kilowatt_hours |  | electricalgrid_energy_accumulator_64 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_64 | kilowatt_hours |  | generator_energy_accumulator_64 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_64 | kilowatt_hours |  | energy_accumulator_64 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_65 | amperes |  | average_line_current_sensor_65 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_65 | volts |  | average_line_neutral_voltage_sensor_65 | volts: volts
HLI-3434 | line_frequency_sensor_65 | hertz |  | line_frequency_sensor_65 | hertz: hertz
HLI-3434 | powerfactor_sensor_65 | no_units |  | powerfactor_sensor_65 | no_units: no_units
HLI-3434 | power_sensor_65 | kilowatts |  | power_sensor_65 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_65 | kilowatt_hours |  | electricalgrid_energy_accumulator_65 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_65 | kilowatt_hours |  | generator_energy_accumulator_65 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_65 | kilowatt_hours |  | energy_accumulator_65 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_66 | amperes |  | average_line_current_sensor_66 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_66 | volts |  | average_line_neutral_voltage_sensor_66 | volts: volts
HLI-3434 | line_frequency_sensor_66 | hertz |  | line_frequency_sensor_66 | hertz: hertz
HLI-3434 | powerfactor_sensor_66 | no_units |  | powerfactor_sensor_66 | no_units: no_units
HLI-3434 | power_sensor_66 | kilowatts |  | power_sensor_66 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_66 | kilowatt_hours |  | electricalgrid_energy_accumulator_66 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_66 | kilowatt_hours |  | generator_energy_accumulator_66 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_66 | kilowatt_hours |  | energy_accumulator_66 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_67 | amperes |  | average_line_current_sensor_67 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_67 | volts |  | average_line_neutral_voltage_sensor_67 | volts: volts
HLI-3434 | line_frequency_sensor_67 | hertz |  | line_frequency_sensor_67 | hertz: hertz
HLI-3434 | powerfactor_sensor_67 | no_units |  | powerfactor_sensor_67 | no_units: no_units
HLI-3434 | power_sensor_67 | kilowatts |  | power_sensor_67 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_67 | kilowatt_hours |  | electricalgrid_energy_accumulator_67 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_67 | kilowatt_hours |  | generator_energy_accumulator_67 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_67 | kilowatt_hours |  | energy_accumulator_67 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_68 | amperes |  | average_line_current_sensor_68 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_68 | volts |  | average_line_neutral_voltage_sensor_68 | volts: volts
HLI-3434 | line_frequency_sensor_68 | hertz |  | line_frequency_sensor_68 | hertz: hertz
HLI-3434 | powerfactor_sensor_68 | no_units |  | powerfactor_sensor_68 | no_units: no_units
HLI-3434 | power_sensor_68 | kilowatts |  | power_sensor_68 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_68 | kilowatt_hours |  | electricalgrid_energy_accumulator_68 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_68 | kilowatt_hours |  | generator_energy_accumulator_68 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_68 | kilowatt_hours |  | energy_accumulator_68 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_69 | amperes |  | average_line_current_sensor_69 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_69 | volts |  | average_line_neutral_voltage_sensor_69 | volts: volts
HLI-3434 | line_frequency_sensor_69 | hertz |  | line_frequency_sensor_69 | hertz: hertz
HLI-3434 | powerfactor_sensor_69 | no_units |  | powerfactor_sensor_69 | no_units: no_units
HLI-3434 | power_sensor_69 | kilowatts |  | power_sensor_69 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_69 | kilowatt_hours |  | electricalgrid_energy_accumulator_69 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_69 | kilowatt_hours |  | generator_energy_accumulator_69 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_69 | kilowatt_hours |  | energy_accumulator_69 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_70 | amperes |  | average_line_current_sensor_70 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_70 | volts |  | average_line_neutral_voltage_sensor_70 | volts: volts
HLI-19 | line_frequency_sensor_70 | hertz |  | line_frequency_sensor_70 | hertz: hertz
HLI-19 | powerfactor_sensor_70 | no_units |  | powerfactor_sensor_70 | no_units: no_units
HLI-19 | power_sensor_70 | kilowatts |  | power_sensor_70 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_70 | kilowatt_hours |  | electricalgrid_energy_accumulator_70 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_70 | kilowatt_hours |  | generator_energy_accumulator_70 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_70 | kilowatt_hours |  | energy_accumulator_70 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_71 | amperes |  | average_line_current_sensor_71 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_71 | volts |  | average_line_neutral_voltage_sensor_71 | volts: volts
HLI-19 | line_frequency_sensor_71 | hertz |  | line_frequency_sensor_71 | hertz: hertz
HLI-19 | powerfactor_sensor_71 | no_units |  | powerfactor_sensor_71 | no_units: no_units
HLI-19 | power_sensor_71 | kilowatts |  | power_sensor_71 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_71 | kilowatt_hours |  | electricalgrid_energy_accumulator_71 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_71 | kilowatt_hours |  | generator_energy_accumulator_71 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_71 | kilowatt_hours |  | energy_accumulator_71 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_72 | amperes |  | average_line_current_sensor_72 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_72 | volts |  | average_line_neutral_voltage_sensor_72 | volts: volts
HLI-3434 | line_frequency_sensor_72 | hertz |  | line_frequency_sensor_72 | hertz: hertz
HLI-3434 | powerfactor_sensor_72 | no_units |  | powerfactor_sensor_72 | no_units: no_units
HLI-3434 | power_sensor_72 | kilowatts |  | power_sensor_72 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_72 | kilowatt_hours |  | electricalgrid_energy_accumulator_72 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_72 | kilowatt_hours |  | generator_energy_accumulator_72 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_72 | kilowatt_hours |  | energy_accumulator_72 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_73 | amperes |  | average_line_current_sensor_73 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_73 | volts |  | average_line_neutral_voltage_sensor_73 | volts: volts
HLI-3434 | line_frequency_sensor_73 | hertz |  | line_frequency_sensor_73 | hertz: hertz
HLI-3434 | powerfactor_sensor_73 | no_units |  | powerfactor_sensor_73 | no_units: no_units
HLI-3434 | power_sensor_73 | kilowatts |  | power_sensor_73 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_73 | kilowatt_hours |  | electricalgrid_energy_accumulator_73 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_73 | kilowatt_hours |  | generator_energy_accumulator_73 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_73 | kilowatt_hours |  | energy_accumulator_73 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_74 | amperes |  | average_line_current_sensor_74 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_74 | volts |  | average_line_neutral_voltage_sensor_74 | volts: volts
HLI-3434 | line_frequency_sensor_74 | hertz |  | line_frequency_sensor_74 | hertz: hertz
HLI-3434 | powerfactor_sensor_74 | no_units |  | powerfactor_sensor_74 | no_units: no_units
HLI-3434 | power_sensor_74 | kilowatts |  | power_sensor_74 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_74 | kilowatt_hours |  | electricalgrid_energy_accumulator_74 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_74 | kilowatt_hours |  | generator_energy_accumulator_74 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_74 | kilowatt_hours |  | energy_accumulator_74 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_75 | amperes |  | average_line_current_sensor_75 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_75 | volts |  | average_line_neutral_voltage_sensor_75 | volts: volts
HLI-3434 | line_frequency_sensor_75 | hertz |  | line_frequency_sensor_75 | hertz: hertz
HLI-3434 | powerfactor_sensor_75 | no_units |  | powerfactor_sensor_75 | no_units: no_units
HLI-3434 | power_sensor_75 | kilowatts |  | power_sensor_75 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_75 | kilowatt_hours |  | electricalgrid_energy_accumulator_75 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_75 | kilowatt_hours |  | generator_energy_accumulator_75 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_75 | kilowatt_hours |  | energy_accumulator_75 | kilowatt_hours: kilowatt_hours
HLI-3434 | average_line_current_sensor_76 | amperes |  | average_line_current_sensor_76 | amperes: amperes
HLI-3434 | average_line_neutral_voltage_sensor_76 | volts |  | average_line_neutral_voltage_sensor_76 | volts: volts
HLI-3434 | line_frequency_sensor_76 | hertz |  | line_frequency_sensor_76 | hertz: hertz
HLI-3434 | powerfactor_sensor_76 | no_units |  | powerfactor_sensor_76 | no_units: no_units
HLI-3434 | power_sensor_76 | kilowatts |  | power_sensor_76 | kilowatts: kilowatts
HLI-3434 | electricalgrid_energy_accumulator_76 | kilowatt_hours |  | electricalgrid_energy_accumulator_76 | kilowatt_hours: kilowatt_hours
HLI-3434 | generator_energy_accumulator_76 | kilowatt_hours |  | generator_energy_accumulator_76 | kilowatt_hours: kilowatt_hours
HLI-3434 | energy_accumulator_76 | kilowatt_hours |  | energy_accumulator_76 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_77 | amperes |  | average_line_current_sensor_77 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_77 | volts |  | average_line_neutral_voltage_sensor_77 | volts: volts
HLI-19 | line_frequency_sensor_77 | hertz |  | line_frequency_sensor_77 | hertz: hertz
HLI-19 | powerfactor_sensor_77 | no_units |  | powerfactor_sensor_77 | no_units: no_units
HLI-19 | power_sensor_77 | kilowatts |  | power_sensor_77 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_77 | kilowatt_hours |  | electricalgrid_energy_accumulator_77 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_77 | kilowatt_hours |  | generator_energy_accumulator_77 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_77 | kilowatt_hours |  | energy_accumulator_77 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_78 | amperes |  | average_line_current_sensor_78 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_78 | volts |  | average_line_neutral_voltage_sensor_78 | volts: volts
HLI-19 | line_frequency_sensor_78 | hertz |  | line_frequency_sensor_78 | hertz: hertz
HLI-19 | powerfactor_sensor_78 | no_units |  | powerfactor_sensor_78 | no_units: no_units
HLI-19 | power_sensor_78 | kilowatts |  | power_sensor_78 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_78 | kilowatt_hours |  | electricalgrid_energy_accumulator_78 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_78 | kilowatt_hours |  | generator_energy_accumulator_78 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_78 | kilowatt_hours |  | energy_accumulator_78 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_79 | amperes |  | average_line_current_sensor_79 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_79 | volts |  | average_line_neutral_voltage_sensor_79 | volts: volts
HLI-53 | line_frequency_sensor_79 | hertz |  | line_frequency_sensor_79 | hertz: hertz
HLI-53 | powerfactor_sensor_79 | no_units |  | powerfactor_sensor_79 | no_units: no_units
HLI-53 | power_sensor_79 | kilowatts |  | power_sensor_79 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_79 | kilowatt_hours |  | electricalgrid_energy_accumulator_79 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_79 | kilowatt_hours |  | generator_energy_accumulator_79 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_79 | kilowatt_hours |  | energy_accumulator_79 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_80 | amperes |  | average_line_current_sensor_80 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_80 | volts |  | average_line_neutral_voltage_sensor_80 | volts: volts
HLI-53 | line_frequency_sensor_80 | hertz |  | line_frequency_sensor_80 | hertz: hertz
HLI-53 | powerfactor_sensor_80 | no_units |  | powerfactor_sensor_80 | no_units: no_units
HLI-53 | power_sensor_80 | kilowatts |  | power_sensor_80 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_80 | kilowatt_hours |  | electricalgrid_energy_accumulator_80 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_80 | kilowatt_hours |  | generator_energy_accumulator_80 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_80 | kilowatt_hours |  | energy_accumulator_80 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_81 | amperes |  | average_line_current_sensor_81 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_81 | volts |  | average_line_neutral_voltage_sensor_81 | volts: volts
HLI-53 | line_frequency_sensor_81 | hertz |  | line_frequency_sensor_81 | hertz: hertz
HLI-53 | powerfactor_sensor_81 | no_units |  | powerfactor_sensor_81 | no_units: no_units
HLI-53 | power_sensor_81 | kilowatts |  | power_sensor_81 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_81 | kilowatt_hours |  | electricalgrid_energy_accumulator_81 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_81 | kilowatt_hours |  | generator_energy_accumulator_81 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_81 | kilowatt_hours |  | energy_accumulator_81 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_82 | amperes |  | average_line_current_sensor_82 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_82 | volts |  | average_line_neutral_voltage_sensor_82 | volts: volts
HLI-53 | line_frequency_sensor_82 | hertz |  | line_frequency_sensor_82 | hertz: hertz
HLI-53 | powerfactor_sensor_82 | no_units |  | powerfactor_sensor_82 | no_units: no_units
HLI-53 | power_sensor_82 | kilowatts |  | power_sensor_82 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_82 | kilowatt_hours |  | electricalgrid_energy_accumulator_82 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_82 | kilowatt_hours |  | generator_energy_accumulator_82 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_82 | kilowatt_hours |  | energy_accumulator_82 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_83 | amperes |  | average_line_current_sensor_83 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_83 | volts |  | average_line_neutral_voltage_sensor_83 | volts: volts
HLI-53 | line_frequency_sensor_83 | hertz |  | line_frequency_sensor_83 | hertz: hertz
HLI-53 | powerfactor_sensor_83 | no_units |  | powerfactor_sensor_83 | no_units: no_units
HLI-53 | power_sensor_83 | kilowatts |  | power_sensor_83 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_83 | kilowatt_hours |  | electricalgrid_energy_accumulator_83 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_83 | kilowatt_hours |  | generator_energy_accumulator_83 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_83 | kilowatt_hours |  | energy_accumulator_83 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_84 | amperes |  | average_line_current_sensor_84 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_84 | volts |  | average_line_neutral_voltage_sensor_84 | volts: volts
HLI-53 | line_frequency_sensor_84 | hertz |  | line_frequency_sensor_84 | hertz: hertz
HLI-53 | powerfactor_sensor_84 | no_units |  | powerfactor_sensor_84 | no_units: no_units
HLI-53 | power_sensor_84 | kilowatts |  | power_sensor_84 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_84 | kilowatt_hours |  | electricalgrid_energy_accumulator_84 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_84 | kilowatt_hours |  | generator_energy_accumulator_84 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_84 | kilowatt_hours |  | energy_accumulator_84 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_85 | amperes |  | average_line_current_sensor_85 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_85 | volts |  | average_line_neutral_voltage_sensor_85 | volts: volts
HLI-53 | line_frequency_sensor_85 | hertz |  | line_frequency_sensor_85 | hertz: hertz
HLI-53 | powerfactor_sensor_85 | no_units |  | powerfactor_sensor_85 | no_units: no_units
HLI-53 | power_sensor_85 | kilowatts |  | power_sensor_85 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_85 | kilowatt_hours |  | electricalgrid_energy_accumulator_85 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_85 | kilowatt_hours |  | generator_energy_accumulator_85 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_85 | kilowatt_hours |  | energy_accumulator_85 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_86 | amperes |  | average_line_current_sensor_86 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_86 | volts |  | average_line_neutral_voltage_sensor_86 | volts: volts
HLI-53 | line_frequency_sensor_86 | hertz |  | line_frequency_sensor_86 | hertz: hertz
HLI-53 | powerfactor_sensor_86 | no_units |  | powerfactor_sensor_86 | no_units: no_units
HLI-53 | power_sensor_86 | kilowatts |  | power_sensor_86 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_86 | kilowatt_hours |  | electricalgrid_energy_accumulator_86 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_86 | kilowatt_hours |  | generator_energy_accumulator_86 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_86 | kilowatt_hours |  | energy_accumulator_86 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_87 | amperes |  | average_line_current_sensor_87 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_87 | volts |  | average_line_neutral_voltage_sensor_87 | volts: volts
HLI-53 | line_frequency_sensor_87 | hertz |  | line_frequency_sensor_87 | hertz: hertz
HLI-53 | powerfactor_sensor_87 | no_units |  | powerfactor_sensor_87 | no_units: no_units
HLI-53 | power_sensor_87 | kilowatts |  | power_sensor_87 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_87 | kilowatt_hours |  | electricalgrid_energy_accumulator_87 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_87 | kilowatt_hours |  | generator_energy_accumulator_87 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_87 | kilowatt_hours |  | energy_accumulator_87 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_88 | amperes |  | average_line_current_sensor_88 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_88 | volts |  | average_line_neutral_voltage_sensor_88 | volts: volts
HLI-19 | line_frequency_sensor_88 | hertz |  | line_frequency_sensor_88 | hertz: hertz
HLI-19 | powerfactor_sensor_88 | no_units |  | powerfactor_sensor_88 | no_units: no_units
HLI-19 | power_sensor_88 | kilowatts |  | power_sensor_88 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_88 | kilowatt_hours |  | electricalgrid_energy_accumulator_88 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_88 | kilowatt_hours |  | generator_energy_accumulator_88 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_88 | kilowatt_hours |  | energy_accumulator_88 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_89 | amperes |  | average_line_current_sensor_89 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_89 | volts |  | average_line_neutral_voltage_sensor_89 | volts: volts
HLI-19 | line_frequency_sensor_89 | hertz |  | line_frequency_sensor_89 | hertz: hertz
HLI-19 | powerfactor_sensor_89 | no_units |  | powerfactor_sensor_89 | no_units: no_units
HLI-19 | power_sensor_89 | kilowatts |  | power_sensor_89 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_89 | kilowatt_hours |  | electricalgrid_energy_accumulator_89 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_89 | kilowatt_hours |  | generator_energy_accumulator_89 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_89 | kilowatt_hours |  | energy_accumulator_89 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_90 | amperes |  | average_line_current_sensor_90 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_90 | volts |  | average_line_neutral_voltage_sensor_90 | volts: volts
HLI-53 | line_frequency_sensor_90 | hertz |  | line_frequency_sensor_90 | hertz: hertz
HLI-53 | powerfactor_sensor_90 | no_units |  | powerfactor_sensor_90 | no_units: no_units
HLI-53 | power_sensor_90 | kilowatts |  | power_sensor_90 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_90 | kilowatt_hours |  | electricalgrid_energy_accumulator_90 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_90 | kilowatt_hours |  | generator_energy_accumulator_90 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_90 | kilowatt_hours |  | energy_accumulator_90 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_91 | amperes |  | average_line_current_sensor_91 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_91 | volts |  | average_line_neutral_voltage_sensor_91 | volts: volts
HLI-53 | line_frequency_sensor_91 | hertz |  | line_frequency_sensor_91 | hertz: hertz
HLI-53 | powerfactor_sensor_91 | no_units |  | powerfactor_sensor_91 | no_units: no_units
HLI-53 | power_sensor_91 | kilowatts |  | power_sensor_91 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_91 | kilowatt_hours |  | electricalgrid_energy_accumulator_91 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_91 | kilowatt_hours |  | generator_energy_accumulator_91 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_91 | kilowatt_hours |  | energy_accumulator_91 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_92 | amperes |  | average_line_current_sensor_92 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_92 | volts |  | average_line_neutral_voltage_sensor_92 | volts: volts
HLI-53 | line_frequency_sensor_92 | hertz |  | line_frequency_sensor_92 | hertz: hertz
HLI-53 | powerfactor_sensor_92 | no_units |  | powerfactor_sensor_92 | no_units: no_units
HLI-53 | power_sensor_92 | kilowatts |  | power_sensor_92 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_92 | kilowatt_hours |  | electricalgrid_energy_accumulator_92 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_92 | kilowatt_hours |  | generator_energy_accumulator_92 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_92 | kilowatt_hours |  | energy_accumulator_92 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_93 | amperes |  | average_line_current_sensor_93 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_93 | volts |  | average_line_neutral_voltage_sensor_93 | volts: volts
HLI-53 | line_frequency_sensor_93 | hertz |  | line_frequency_sensor_93 | hertz: hertz
HLI-53 | powerfactor_sensor_93 | no_units |  | powerfactor_sensor_93 | no_units: no_units
HLI-53 | power_sensor_93 | kilowatts |  | power_sensor_93 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_93 | kilowatt_hours |  | electricalgrid_energy_accumulator_93 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_93 | kilowatt_hours |  | generator_energy_accumulator_93 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_93 | kilowatt_hours |  | energy_accumulator_93 | kilowatt_hours: kilowatt_hours
HLI-53 | average_line_current_sensor_94 | amperes |  | average_line_current_sensor_94 | amperes: amperes
HLI-53 | average_line_neutral_voltage_sensor_94 | volts |  | average_line_neutral_voltage_sensor_94 | volts: volts
HLI-53 | line_frequency_sensor_94 | hertz |  | line_frequency_sensor_94 | hertz: hertz
HLI-53 | powerfactor_sensor_94 | no_units |  | powerfactor_sensor_94 | no_units: no_units
HLI-53 | power_sensor_94 | kilowatts |  | power_sensor_94 | kilowatts: kilowatts
HLI-53 | electricalgrid_energy_accumulator_94 | kilowatt_hours |  | electricalgrid_energy_accumulator_94 | kilowatt_hours: kilowatt_hours
HLI-53 | generator_energy_accumulator_94 | kilowatt_hours |  | generator_energy_accumulator_94 | kilowatt_hours: kilowatt_hours
HLI-53 | energy_accumulator_94 | kilowatt_hours |  | energy_accumulator_94 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_95 | amperes |  | average_line_current_sensor_95 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_95 | volts |  | average_line_neutral_voltage_sensor_95 | volts: volts
HLI-19 | line_frequency_sensor_95 | hertz |  | line_frequency_sensor_95 | hertz: hertz
HLI-19 | powerfactor_sensor_95 | no_units |  | powerfactor_sensor_95 | no_units: no_units
HLI-19 | power_sensor_95 | kilowatts |  | power_sensor_95 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_95 | kilowatt_hours |  | electricalgrid_energy_accumulator_95 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_95 | kilowatt_hours |  | generator_energy_accumulator_95 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_95 | kilowatt_hours |  | energy_accumulator_95 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_96 | amperes |  | average_line_current_sensor_96 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_96 | volts |  | average_line_neutral_voltage_sensor_96 | volts: volts
HLI-19 | line_frequency_sensor_96 | hertz |  | line_frequency_sensor_96 | hertz: hertz
HLI-19 | powerfactor_sensor_96 | no_units |  | powerfactor_sensor_96 | no_units: no_units
HLI-19 | power_sensor_96 | kilowatts |  | power_sensor_96 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_96 | kilowatt_hours |  | electricalgrid_energy_accumulator_96 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_96 | kilowatt_hours |  | generator_energy_accumulator_96 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_96 | kilowatt_hours |  | energy_accumulator_96 | kilowatt_hours: kilowatt_hours
HLI-65 | average_line_current_sensor_97 | amperes |  | average_line_current_sensor_97 | amperes: amperes
HLI-65 | average_line_neutral_voltage_sensor_97 | volts |  | average_line_neutral_voltage_sensor_97 | volts: volts
HLI-65 | line_frequency_sensor_97 | hertz |  | line_frequency_sensor_97 | hertz: hertz
HLI-65 | powerfactor_sensor_97 | no_units |  | powerfactor_sensor_97 | no_units: no_units
HLI-65 | power_sensor_97 | kilowatts |  | power_sensor_97 | kilowatts: kilowatts
HLI-65 | electricalgrid_energy_accumulator_97 | kilowatt_hours |  | electricalgrid_energy_accumulator_97 | kilowatt_hours: kilowatt_hours
HLI-65 | generator_energy_accumulator_97 | kilowatt_hours |  | generator_energy_accumulator_97 | kilowatt_hours: kilowatt_hours
HLI-65 | energy_accumulator_97 | kilowatt_hours |  | energy_accumulator_97 | kilowatt_hours: kilowatt_hours
HLI-65 | average_line_current_sensor_98 | amperes |  | average_line_current_sensor_98 | amperes: amperes
HLI-65 | average_line_neutral_voltage_sensor_98 | volts |  | average_line_neutral_voltage_sensor_98 | volts: volts
HLI-65 | line_frequency_sensor_98 | hertz |  | line_frequency_sensor_98 | hertz: hertz
HLI-65 | powerfactor_sensor_98 | no_units |  | powerfactor_sensor_98 | no_units: no_units
HLI-65 | power_sensor_98 | kilowatts |  | power_sensor_98 | kilowatts: kilowatts
HLI-65 | electricalgrid_energy_accumulator_98 | kilowatt_hours |  | electricalgrid_energy_accumulator_98 | kilowatt_hours: kilowatt_hours
HLI-65 | generator_energy_accumulator_98 | kilowatt_hours |  | generator_energy_accumulator_98 | kilowatt_hours: kilowatt_hours
HLI-65 | energy_accumulator_98 | kilowatt_hours |  | energy_accumulator_98 | kilowatt_hours: kilowatt_hours
HLI-65 | average_line_current_sensor_99 | amperes |  | average_line_current_sensor_99 | amperes: amperes
HLI-65 | average_line_neutral_voltage_sensor_99 | volts |  | average_line_neutral_voltage_sensor_99 | volts: volts
HLI-65 | line_frequency_sensor_99 | hertz |  | line_frequency_sensor_99 | hertz: hertz
HLI-65 | powerfactor_sensor_99 | no_units |  | powerfactor_sensor_99 | no_units: no_units
HLI-65 | power_sensor_99 | kilowatts |  | power_sensor_99 | kilowatts: kilowatts
HLI-65 | electricalgrid_energy_accumulator_99 | kilowatt_hours |  | electricalgrid_energy_accumulator_99 | kilowatt_hours: kilowatt_hours
HLI-65 | generator_energy_accumulator_99 | kilowatt_hours |  | generator_energy_accumulator_99 | kilowatt_hours: kilowatt_hours
HLI-65 | energy_accumulator_99 | kilowatt_hours |  | energy_accumulator_99 | kilowatt_hours: kilowatt_hours
HLI-65 | average_line_current_sensor_100 | amperes |  | average_line_current_sensor_100 | amperes: amperes
HLI-65 | average_line_neutral_voltage_sensor_100 | volts |  | average_line_neutral_voltage_sensor_100 | volts: volts
HLI-65 | line_frequency_sensor_100 | hertz |  | line_frequency_sensor_100 | hertz: hertz
HLI-65 | powerfactor_sensor_100 | no_units |  | powerfactor_sensor_100 | no_units: no_units
HLI-65 | power_sensor_100 | kilowatts |  | power_sensor_100 | kilowatts: kilowatts
HLI-65 | electricalgrid_energy_accumulator_100 | kilowatt_hours |  | electricalgrid_energy_accumulator_100 | kilowatt_hours: kilowatt_hours
HLI-65 | generator_energy_accumulator_100 | kilowatt_hours |  | generator_energy_accumulator_100 | kilowatt_hours: kilowatt_hours
HLI-65 | energy_accumulator_100 | kilowatt_hours |  | energy_accumulator_100 | kilowatt_hours: kilowatt_hours
HLI-65 | average_line_current_sensor_101 | amperes |  | average_line_current_sensor_101 | amperes: amperes
HLI-65 | average_line_neutral_voltage_sensor_101 | volts |  | average_line_neutral_voltage_sensor_101 | volts: volts
HLI-65 | line_frequency_sensor_101 | hertz |  | line_frequency_sensor_101 | hertz: hertz
HLI-65 | powerfactor_sensor_101 | no_units |  | powerfactor_sensor_101 | no_units: no_units
HLI-65 | power_sensor_101 | kilowatts |  | power_sensor_101 | kilowatts: kilowatts
HLI-65 | electricalgrid_energy_accumulator_101 | kilowatt_hours |  | electricalgrid_energy_accumulator_101 | kilowatt_hours: kilowatt_hours
HLI-65 | generator_energy_accumulator_101 | kilowatt_hours |  | generator_energy_accumulator_101 | kilowatt_hours: kilowatt_hours
HLI-65 | energy_accumulator_101 | kilowatt_hours |  | energy_accumulator_101 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_102 | amperes |  | average_line_current_sensor_102 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_102 | volts |  | average_line_neutral_voltage_sensor_102 | volts: volts
HLI-19 | line_frequency_sensor_102 | hertz |  | line_frequency_sensor_102 | hertz: hertz
HLI-19 | powerfactor_sensor_102 | no_units |  | powerfactor_sensor_102 | no_units: no_units
HLI-19 | power_sensor_102 | kilowatts |  | power_sensor_102 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_102 | kilowatt_hours |  | electricalgrid_energy_accumulator_102 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_102 | kilowatt_hours |  | generator_energy_accumulator_102 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_102 | kilowatt_hours |  | energy_accumulator_102 | kilowatt_hours: kilowatt_hours
HLI-19 | average_line_current_sensor_103 | amperes |  | average_line_current_sensor_103 | amperes: amperes
HLI-19 | average_line_neutral_voltage_sensor_103 | volts |  | average_line_neutral_voltage_sensor_103 | volts: volts
HLI-19 | line_frequency_sensor_103 | hertz |  | line_frequency_sensor_103 | hertz: hertz
HLI-19 | powerfactor_sensor_103 | no_units |  | powerfactor_sensor_103 | no_units: no_units
HLI-19 | power_sensor_103 | kilowatts |  | power_sensor_103 | kilowatts: kilowatts
HLI-19 | electricalgrid_energy_accumulator_103 | kilowatt_hours |  | electricalgrid_energy_accumulator_103 | kilowatt_hours: kilowatt_hours
HLI-19 | generator_energy_accumulator_103 | kilowatt_hours |  | generator_energy_accumulator_103 | kilowatt_hours: kilowatt_hours
HLI-19 | energy_accumulator_103 | kilowatt_hours |  | energy_accumulator_103 | kilowatt_hours: kilowatt_hours
HLI-65 | average_line_current_sensor_104 | amperes |  | average_line_current_sensor_104 | amperes: amperes
HLI-65 | average_line_neutral_voltage_sensor_104 | volts |  | average_line_neutral_voltage_sensor_104 | volts: volts
HLI-65 | line_frequency_sensor_104 | hertz |  | line_frequency_sensor_104 | hertz: hertz
HLI-65 | powerfactor_sensor_104 | no_units |  | powerfactor_sensor_104 | no_units: no_units
HLI-65 | power_sensor_104 | kilowatts |  | power_sensor_104 | kilowatts: kilowatts
HLI-65 | electricalgrid_energy_accumulator_104 | kilowatt_hours |  | electricalgrid_energy_accumulator_104 | kilowatt_hours: kilowatt_hours
HLI-65 | generator_energy_accumulator_104 | kilowatt_hours |  | generator_energy_accumulator_104 | kilowatt_hours: kilowatt_hours
HLI-65 | energy_accumulator_104 | kilowatt_hours |  | energy_accumulator_104 | kilowatt_hours: kilowatt_hours
HLI-65 | average_line_current_sensor_105 | amperes |  | average_line_current_sensor_105 | amperes: amperes
HLI-65 | average_line_neutral_voltage_sensor_105 | volts |  | average_line_neutral_voltage_sensor_105 | volts: volts
HLI-65 | line_frequency_sensor_105 | hertz |  | line_frequency_sensor_105 | hertz: hertz
HLI-65 | powerfactor_sensor_105 | no_units |  | powerfactor_sensor_105 | no_units: no_units
HLI-65 | power_sensor_105 | kilowatts |  | power_sensor_105 | kilowatts: kilowatts
HLI-65 | electricalgrid_energy_accumulator_105 | kilowatt_hours |  | electricalgrid_energy_accumulator_105 | kilowatt_hours: kilowatt_hours
HLI-65 | generator_energy_accumulator_105 | kilowatt_hours |  | generator_energy_accumulator_105 | kilowatt_hours: kilowatt_hours
HLI-65 | energy_accumulator_105 | kilowatt_hours |  | energy_accumulator_105 | kilowatt_hours: kilowatt_hours

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts
EM-01 | HLI-9 | average_line_current_sensor_01 | average_line_current_sensor
EM-01 | HLI-9 | average_line_neutral_voltage_sensor_01 | average_line_neutral_voltage_sensor
EM-01 | HLI-9 | line_frequency_sensor_01 | line_frequency_sensor
EM-01 | HLI-9 | powerfactor_sensor_01 | powerfactor_sensor
EM-01 | HLI-9 | power_sensor_01 | power_sensor
EM-01 | HLI-9 | electricalgrid_energy_accumulator_01 | electricalgrid_energy_accumulator
EM-01 | HLI-9 | generator_energy_accumulator_01 | generator_energy_accumulator
EM-01 | HLI-9 | energy_accumulator_01 | energy_accumulator

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device