## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING | 3654fc48-914e-4a55-82f6-126534244886
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | a388563d-58e3-4534-b133-19389f6650a4 | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | b9f2c8b8-d67e-4b50-824a-7b48ff877429 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | a0f68db4-f074-49cf-8e80-d65634587f9f | IN-GUR-SIGD-RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | 58d709a5-aa50-4134-a035-0ccc2d01fd48 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | bdf2e667-8ab2-4ae3-bcc9-9c6c7d995535 | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
VAV-01 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-COLLAB-01-2022 | 10 | 10 | 10 | 98895f2a-9efa-6013-565f-717754a54a7e | IN-BLR-BCPWK | VAV-01 | VAV-01 | RS256 | Device | HVAC/AHU_ |  |  |  |  | RB2-024
VAV-02 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-208-BELFAST | 10 | 10 | 10 | 105b6bd8-8179-5d64-00e0-9c7ba7fcce0e | IN-BLR-BCPWK | VAV-02 | VAV-02 | RS256 | Device
VAV-03 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-207-BEWARE | 10 | 10 | 10 | 64852727-ee9a-749a-9efe-c773ea9f5bd6 | IN-BLR-BCPWK | VAV-03 | VAV-03 | RS256 | Device
VAV-04 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-W/S-2015 | 10 | 10 | 10 | 23d2c09c-9ba2-cd4f-53f6-4f054433de75 | IN-BLR-BCPWK | VAV-04 | VAV-04 | RS256 | Device
VAV-05 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-204-BEETLE | 10 | 10 | 10 | d6173f59-72b9-9023-8fcd-96c871bb0c77 | IN-BLR-BCPWK | VAV-05 | VAV-05 | RS256 | Device
VAV-06 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-206-BEGIN-AGAIN | 10 | 10 | 10 | 7d86ebd9-3f33-f7bb-569e-4a45b53467fc | IN-BLR-BCPWK | VAV-06 | VAV-06 | RS256 | Device
VAV-07 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-205-BUTTER | 10 | 10 | 10 | 5b9c705f-4504-ef50-82df-16b89b3c4dec | IN-BLR-BCPWK | VAV-07 | VAV-07 | RS256 | Device
VAV-08 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-NEAR-COLLAB-17-2079 | 10 | 10 | 10 | 0a0e3e9d-14a7-5ce9-574f-7918e2ffc7b9 | IN-BLR-BCPWK | VAV-08 | VAV-08 | RS256 | Device
VAV-09 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-201-BABY-JANE | 10 | 10 | 10 | 3393e0b1-6c51-85c7-e7c9-a5376eb28ee8 | IN-BLR-BCPWK | VAV-09 | VAV-09 | RS256 | Device
VAV-10 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-203-BIG-HOUSE | 10 | 10 | 10 | 14180b1f-771a-c8ff-fc75-070ea2c80e40 | IN-BLR-BCPWK | VAV-10 | VAV-10 | RS256 | Device
VAV-11 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-202-BLACK-IN-BLACK | 10 | 10 | 10 | 2b5da77f-8458-089f-9861-27f8ec473982 | IN-BLR-BCPWK | VAV-11 | VAV-11 | RS256 | Device
VAV-12 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-NEAR-W/S-2002 | 10 | 10 | 10 | 3620102b-d52d-7560-325b-53f1108fb68b | IN-BLR-BCPWK | VAV-12 | VAV-12 | RS256 | Device
VAV-13 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-W/S-2010 | 10 | 10 | 10 | b8c16976-171b-c8a5-65c3-33c64d2db252 | IN-BLR-BCPWK | VAV-13 | VAV-13 | RS256 | Device
VAV-14 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-W/S-2042 | 10 | 10 | 10 | 9a09e01b-a303-1992-7ba2-0432c98b8912 | IN-BLR-BCPWK | VAV-14 | VAV-14 | RS256 | Device
VAV-15 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-W/S-2041 | 10 | 10 | 10 | 771fe3e4-f673-6f48-28eb-b9cc7584d17d | IN-BLR-BCPWK | VAV-15 | VAV-15 | RS256 | Device
VAV-16 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-211-BLANK-SPACE | 10 | 10 | 10 | 2a1b1eca-b915-797a-1b0e-2f3f827fe268 | IN-BLR-BCPWK | VAV-16 | VAV-16 | RS256 | Device
VAV-17 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-210-BUTTERFLY | 10 | 10 | 10 | 92826016-9c72-d01f-88ae-6a3a2b83d4ea | IN-BLR-BCPWK | VAV-17 | VAV-17 | RS256 | Device
VAV-18 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-209-BEAUTIFUL-DAY | 10 | 10 | 10 | 98146baf-371b-3081-14ad-c0a49435be27 | IN-BLR-BCPWK | VAV-18 | VAV-18 | RS256 | Device
VAV-23 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-COLLAB-08-2092 | 10 | 10 | 10 | f7780af0-3ea0-7634-6768-ca7430c09ca2 | IN-BLR-BCPWK | VAV-23 | VAV-23 | RS256 | Device
VAV-24 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-215-BEYOND-ME | 10 | 10 | 10 | af4f913a-0719-2719-6371-89839ebbbf8d | IN-BLR-BCPWK | VAV-24 | VAV-24 | RS256 | Device
VAV-25 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-213-BILLE-JEAN | 10 | 10 | 10 | a372b639-19af-2d21-947e-47971d39af9f | IN-BLR-BCPWK | VAV-25 | VAV-25 | RS256 | Device
VAV-26 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-FM-STORE-ROOM-2098 | 10 | 10 | 10 | 1379aba4-e351-fcbe-ecf9-02f8161d2964 | IN-BLR-BCPWK | VAV-26 | VAV-26 | RS256 | Device
VAV-27 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-214-BASKET-CASE | 10 | 10 | 10 | 648664c1-7902-ea80-d22e-ea7e62d879f8 | IN-BLR-BCPWK | VAV-27 | VAV-27 | RS256 | Device
VAV-28 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-212-BLACK-BIRD | 10 | 10 | 10 | 1d58d715-688b-14f6-4bfc-72e2066310f4 | IN-BLR-BCPWK | VAV-28 | VAV-28 | RS256 | Device
VAV-29 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-COLLAB-09-2097 | 10 | 10 | 10 | 5f0a21a0-58bf-eaac-a4ae-2bcd88ad0c6f | IN-BLR-BCPWK | VAV-29 | VAV-29 | RS256 | Device
VAV-30 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-217-BEAUMONT | 10 | 10 | 10 | ca6fbcd5-1ca6-6b5a-4dac-e7519f51f8af | IN-BLR-BCPWK | VAV-30 | VAV-30 | RS256 | Device
VAV-31 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-W/S-2045 | 10 | 10 | 10 | c697cda5-060c-a458-7f6b-56cdbb02353c | IN-BLR-BCPWK | VAV-31 | VAV-31 | RS256 | Device
VAV-32 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-LOUNGE-2099 | 10 | 10 | 10 | b3f830ac-bbb8-9c54-f22e-324c96505ed2 | IN-BLR-BCPWK | VAV-32 | VAV-32 | RS256 | Device
VAV-33 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-LOUNGE-2099 | 10 | 10 | 10 | fd8f7d18-af47-5b74-1323-d71e65bc8522 | IN-BLR-BCPWK | VAV-33 | VAV-33 | RS256 | Device
VAV-34 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-W/S-2051 | 10 | 10 | 10 | 699fae67-c357-cbe1-95ec-b7ce0bfea7e3 | IN-BLR-BCPWK | VAV-34 | VAV-34 | RS256 | Device
VAV-35 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-225-BLACK-WATER-BLUES | 10 | 10 | 10 | 0d57d4aa-912f-75b2-8533-3c8334405dcc | IN-BLR-BCPWK | VAV-35 | VAV-35 | RS256 | Device
VAV-36 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-224-BIG-FOOT | 10 | 10 | 10 | b5a56948-173c-d898-d2b6-618a46983917 | IN-BLR-BCPWK | VAV-36 | VAV-36 | RS256 | Device
VAV-37 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-223-BAILANDO | 10 | 10 | 10 | 4d6cc91f-b1f2-3cf9-f480-018045eb681f | IN-BLR-BCPWK | VAV-37 | VAV-37 | RS256 | Device
VAV-38 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-228-BEJEWELED | 10 | 10 | 10 | c441e590-b0bc-b3cf-203b-a3ec25b2d55e | IN-BLR-BCPWK | VAV-38 | VAV-38 | RS256 | Device
VAV-39 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-REPRO-2116 | 10 | 10 | 10 | 3d7ce94e-8db2-2f76-ce4d-f1c11e86a843 | IN-BLR-BCPWK | VAV-39 | VAV-39 | RS256 | Device
VAV-40 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-231-BORDERLINE | 10 | 10 | 10 | d80f174e-ad9c-7064-628c-997512c5b0c5 | IN-BLR-BCPWK | VAV-40 | VAV-40 | RS256 | Device
VAV-41 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-232-BABEL | 10 | 10 | 10 | a32795e6-e176-f350-0610-679b97b277c2 | IN-BLR-BCPWK | VAV-41 | VAV-41 | RS256 | Device
VAV-42 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-COLLAB-13-2124 | 10 | 10 | 10 | c0d2b084-27b0-4274-5e19-e95a01b1f23e | IN-BLR-BCPWK | VAV-42 | VAV-42 | RS256 | Device
VAV-43 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-236-Baltimore | 10 | 10 | 10 | 90189947-0967-aedc-1fe6-4503c2c064c1 | IN-BLR-BCPWK | VAV-43 | VAV-43 | RS256 | Device
VAV-44 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-237-Baba-O-riley | 10 | 10 | 10 | fdb27130-c276-fdad-db3c-28668c1fb1ce | IN-BLR-BCPWK | VAV-44 | VAV-44 | RS256 | Device
VAV-45 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-238-Bike-Lane | 10 | 10 | 10 | f88f24ff-efda-ca4d-f83e-f10981b4205b | IN-BLR-BCPWK | VAV-45 | VAV-45 | RS256 | Device
VAV-46 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MICRO-KITCHEN-2000 | 10 | 10 | 10 | 68e5367f-e642-27d4-70ac-c5a12b05544f | IN-BLR-BCPWK | VAV-46 | VAV-46 | RS256 | Device
VAV-47 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-COLLAB-11-2108 | 10 | 10 | 10 | 194595b8-05b7-c825-7f4c-31e5e9466a50 | IN-BLR-BCPWK | VAV-47 | VAV-47 | RS256 | Device
VAV-48 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-220-BACK-TO-YOU | 10 | 10 | 10 | a44a4619-e472-ffa4-992e-b8b535d6bdf6 | IN-BLR-BCPWK | VAV-48 | VAV-48 | RS256 | Device
VAV-49 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-COLLAB-11-2103 | 10 | 10 | 10 | a3656ea1-d880-0308-5550-70521ff15f8e | IN-BLR-BCPWK | VAV-49 | VAV-49 | RS256 | Device
VAV-50 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-219-BIG-JACK | 10 | 10 | 10 | c61118ae-b239-96e7-d787-300e2e2d8845 | IN-BLR-BCPWK | VAV-50 | VAV-50 | RS256 | Device
VAV-51 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-222-BONES | 10 | 10 | 10 | 856ef5ad-0627-3561-77da-996db4032ea5 | IN-BLR-BCPWK | VAV-51 | VAV-51 | RS256 | Device
VAV-52 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-221-BE-ALIVE | 10 | 10 | 10 | fa8657dc-02c5-1cda-21b7-325db3f01a76 | IN-BLR-BCPWK | VAV-52 | VAV-52 | RS256 | Device
VAV-53 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-REPRO-2101 | 10 | 10 | 10 | fd2492d5-7eed-6804-ada0-52499595572f | IN-BLR-BCPWK | VAV-53 | VAV-53 | RS256 | Device
VAV-54 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-PANIC-RM-2102 | 10 | 10 | 10 | 0368b020-235f-e8e0-85af-f36ca4851d92 | IN-BLR-BCPWK | VAV-54 | VAV-54 | RS256 | Device
VAV-55 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-W/S-2047 | 10 | 10 | 10 | f76c97d5-37ca-5060-927a-1e210e443c82 | IN-BLR-BCPWK | VAV-55 | VAV-55 | RS256 | Device
VAV-56 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-COLLAB-04-2032 | 10 | 10 | 10 | 2f49dc12-cb3b-437a-01b1-2ea7b7e5878a | IN-BLR-BCPWK | VAV-56 | VAV-56 | RS256 | Device
VAV-57 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-COLLAB-05-2039 | 10 | 10 | 10 | 4219c60d-b613-9465-1d92-729a1e3b2bc3 | IN-BLR-BCPWK | VAV-57 | VAV-57 | RS256 | Device
VAV-58 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-NEAR-W/S-2055 | 10 | 10 | 10 | 044bceb0-244f-24a6-2093-fd5fde8bb042 | IN-BLR-BCPWK | VAV-58 | VAV-58 | RS256 | Device
VAV-59 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-227-Believer | 10 | 10 | 10 | b005549d-f543-d595-cd6c-1d3ef277a272 | IN-BLR-BCPWK | VAV-59 | VAV-59 | RS256 | Device
VAV-60 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-226-BLUE | 10 | 10 | 10 | 4175e38f-7d28-6b2d-e2c0-0d9b4a45c71e | IN-BLR-BCPWK | VAV-60 | VAV-60 | RS256 | Device
VAV-61 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-W/S-2060 | 10 | 10 | 10 | eab97d1f-7a6c-293a-ed55-68d32bf55ae7 | IN-BLR-BCPWK | VAV-61 | VAV-61 | RS256 | Device
VAV-62 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-229-BILLS | 10 | 10 | 10 | 3b3b4bca-c8cb-f89c-4047-5862f5734901 | IN-BLR-BCPWK | VAV-62 | VAV-62 | RS256 | Device
VAV-63 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-230-BEST-LIFE | 10 | 10 | 10 | 8e50b9a5-ec46-10da-ecba-7ae4fb5f9751 | IN-BLR-BCPWK | VAV-63 | VAV-63 | RS256 | Device
VAV-64 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-233-BEAT-IT | 10 | 10 | 10 | 2f356623-91eb-cfad-22b0-d27cc03f5fad | IN-BLR-BCPWK | VAV-64 | VAV-64 | RS256 | Device
VAV-65 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-RM-234-BATPHONE | 10 | 10 | 10 | b0cb8a91-1838-9dc6-bd09-e7c669f5e247 | IN-BLR-BCPWK | VAV-65 | VAV-65 | RS256 | Device
VAV-66 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-235-BACON | 10 | 10 | 10 | 1cb0654d-429b-b4ff-add1-f7911c061650 | IN-BLR-BCPWK | VAV-66 | VAV-66 | RS256 | Device
VAV-67 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-W/S-2065 | 10 | 10 | 10 | 67c62a15-4fad-7d48-e093-49a634067ccf | IN-BLR-BCPWK | VAV-67 | VAV-67 | RS256 | Device

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | udmi.pointset.ref | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
VAV-01 | supply_air_flowrate_sensor | cubic_feet_per_minute | AV110.Present_Value
VAV-01 | supply_air_damper_percentage_command | percent | AV93.Present_Value
VAV-01 | supply_air_damper_percentage_sensor | percent | AV93.Present_Value
VAV-01 | zone_air_temperature_sensor | degrees_celsius | AV2.Present_Value
VAV-01 | zone_air_cooling_temperature_setpoint | degrees_celsius | AV6.Present_Value
VAV-01 | zone_occupancy_status | No-Units | MSV12.Present_Value
VAV-02 | supply_air_flowrate_sensor | cubic_feet_per_minute | AV110.Present_Value
VAV-02 | supply_air_damper_percentage_command | percent | AV93.Present_Value
VAV-02 | supply_air_damper_percentage_sensor | percent | AV93.Present_Value
VAV-02 | zone_air_temperature_sensor | degrees_celsius | AV2.Present_Value
VAV-02 | zone_air_cooling_temperature_setpoint | degrees_celsius | AV6.Present_Value
VAV-02 | zone_occupancy_status | No-Units | MSV12.Present_Value

## network
network_type | udmi.localnet.families | udmi.localnet.id
VAV-01 | bacnet | 152101
VAV-02 | bacnet | 152102
VAV-03 | bacnet | 152103
VAV-04 | bacnet | 152104
VAV-05 | bacnet | 152108
VAV-06 | bacnet | 152106
VAV-07 | bacnet | 152107
VAV-08 | bacnet | 152109
VAV-09 | bacnet | 152111
VAV-10 | bacnet | 152110
VAV-11 | bacnet | 152112
VAV-12 | bacnet | 152113
VAV-13 | bacnet | 152105
VAV-14 | bacnet | 152114
VAV-15 | bacnet | 152115
VAV-16 | bacnet | 152225
VAV-17 | bacnet | 152226
VAV-18 | bacnet | 152227
VAV-23 | bacnet | 152224
VAV-24 | bacnet | 152222
VAV-25 | bacnet | 152223
VAV-26 | bacnet | 152218
VAV-27 | bacnet | 152220
VAV-28 | bacnet | 152221
VAV-29 | bacnet | 152219
VAV-30 | bacnet | 152217
VAV-31 | bacnet | 152216
VAV-32 | bacnet | 152315
VAV-33 | bacnet | 152316
VAV-34 | bacnet | 152301
VAV-35 | bacnet | 152302
VAV-36 | bacnet | 152304
VAV-37 | bacnet | 152305
VAV-38 | bacnet | 152401
VAV-39 | bacnet | 152402
VAV-40 | bacnet | 152405
VAV-41 | bacnet | 152406
VAV-42 | bacnet | 152411
VAV-43 | bacnet | 152414
VAV-44 | bacnet | 152412
VAV-45 | bacnet | 152413
VAV-46 | bacnet | 152415
VAV-47 | bacnet | 152303
VAV-48 | bacnet | 152310
VAV-49 | bacnet | 152309
VAV-50 | bacnet | 152308
VAV-51 | bacnet | 152307
VAV-52 | bacnet | 152306
VAV-53 | bacnet | 152313
VAV-54 | bacnet | 152314
VAV-55 | bacnet | 152311
VAV-56 | bacnet | 152312
VAV-57 | bacnet | 152501
VAV-58 | bacnet | 152502
VAV-59 | bacnet | 152503
VAV-60 | bacnet | 152504
VAV-61 | bacnet | 152505
VAV-62 | bacnet | 152403
VAV-63 | bacnet | 152404
VAV-64 | bacnet | 152408
VAV-65 | bacnet | 152407
VAV-66 | bacnet | 152409
VAV-67 | bacnet | 152410

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device