## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING | 3654fc48-914e-4a55-82f6-126534244886
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | a388563d-58e3-4534-b133-19389f6650a4 | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | b9f2c8b8-d67e-4b50-824a-7b48ff877429 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | a0f68db4-f074-49cf-8e80-d65634587f9f | IN-GUR-SIGD-RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | 58d709a5-aa50-4134-a035-0ccc2d01fd48 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | bdf2e667-8ab2-4ae3-bcc9-9c6c7d995535 | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
VAV-01 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-COLLAB-01-2022 | 10 | 10 | 10 | 98895f2a-9efa-6013-565f-717754a54a7e | IN-BLR-BCPWK | VAV-01 | VAV-01 | RS256 | Device | HVAC/AHU_ |  |  |  |  | RB2-024
VAV-02 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-MEETING-RM-208-BELFAST | 10 | 10 | 10 | 105b6bd8-8179-5d64-00e0-9c7ba7fcce0e | IN-BLR-BCPWK | VAV-02 | VAV-02 | RS256 | Device

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | udmi.pointset.ref | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
VAV-01 | supply_air_flowrate_sensor | cubic_feet_per_minute | AV110.Present_Value
VAV-01 | supply_air_damper_percentage_command | percent | AV93.Present_Value
VAV-01 | zone_air_temperature_sensor | degrees_celsius | AI2.Present_Value
VAV-01 | zone_air_cooling_temperature_setpoint | degrees_celsius | AV6.Present_Value
VAV-01 | zone_occupancy_status | No-Units | MV12.Present_Value
VAV-02 | supply_air_flowrate_sensor | cubic_feet_per_minute | AV110.Present_Value
VAV-02 | supply_air_damper_percentage_command | percent | AV93.Present_Value
VAV-02 | zone_air_temperature_sensor | degrees_celsius | AI2.Present_Value
VAV-02 | zone_air_cooling_temperature_setpoint | degrees_celsius | AV6.Present_Value
VAV-02 | zone_occupancy_status | No-Units | MV12.Present_Value

## network
network_type | udmi.localnet.families | udmi.localnet.id
VAV-01 | bacnet | 152101
VAV-02 | bacnet | 152102

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device