## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
DDC-7 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 8447158d-ed2a-5439-4e91-1821cda250be | IN-BLR-BCPWK | DDC-7 | DDC-7 | RS256_X509 | Device | HVAC/AHU_ | 2724986027408634 |  |  | HLI-14 | HLI-14 |  | HLI-14
DDC-6 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-02 | 10 | 10 | 10 | 20a23425-abe8-f2c8-0bed-998b14ce2347 | IN-BLR-BCPWK | DDC-6 | DDC-6 | RS256_X509 | Device | HVAC/AHU_ |  |  |  | HLI-14 | LTGRP-1
DDC-4 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-SOUTH-WING-AHU-01 | 10 | 10 | 10 | 908c2039-04ed-7db5-6c42-cc02adb0a559 | IN-BLR-BCPWK | DDC-4 | DDC-4 | RS256_X509 | Device | HVAC/AHU_
DDC-5 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 2F-SOUTH-WING-AHU-02 | 10 | 10 | 10 | ad574491-d68f-1238-094c-7d632e409b1d | IN-BLR-BCPWK | DDC-5 | DDC-5 | RS256_X509 | Device | HVAC/AHU_
DDC-9 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 3F-NORTH-WING-AHU-01 | 10 | 10 | 10 | aacedde1-ef05-8170-75a2-79cc7af0fd29 | IN-BLR-BCPWK | DDC-9 | DDC-9 | RS256_X509 | Device | HVAC/AHU_
DDC-8 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 3F-SOUTH-WING-AHU-02 | 10 | 10 | 10 | 4d6f22ca-ffe0-4f4e-0c4f-dd6c8ff1aa34 | IN-BLR-BCPWK | DDC-8 | DDC-8 | RS256_X509 | Device | HVAC/AHU_
DDC-13 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 4F-NORTH-WING-AHU-01 | 10 | 10 | 10 | e2f8e587-8c20-c46b-ffa7-b552c7627024 | IN-BLR-BCPWK | DDC-13 | DDC-13 | RS256_X509 | Device | HVAC/AHU_
DDC-1111 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 4F-SOUTH-WING-AHU-02 | 10 | 10 | 10 | 5ff6622f-baf4-bffa-4720-8e52ce0519c1 | IN-BLR-BCPWK | DDC-1111 | DDC-1111 | RS256_X509 | Device | HVAC/AHU_
DDC-15 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 5F-NORTH-WING-AHU-01 | 10 | 10 | 10 | ca8ce783-8146-d6da-257e-1da57b64e8ef | IN-BLR-BCPWK | DDC-15 | DDC-15 | RS256_X509 | Device | HVAC/AHU_
DDC-14 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 5F-SOUTH-WING-AHU-02 | 10 | 10 | 10 | 2a1be597-3ab5-5890-1450-fe9ab03a720f | IN-BLR-BCPWK | DDC-14 | DDC-14 | RS256_X509 | Device | HVAC/AHU_
DDC-17 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 6F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 6a95eb34-478c-035f-1e5a-7930f2c62f23 | IN-BLR-BCPWK | DDC-17 | DDC-17 | RS256_X509 | Device | HVAC/AHU_
DDC-16 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 6F-SOUTH-WING-AHU-02 | 10 | 10 | 10 | f645abe7-ab0b-9379-95db-d437a37bfab7 | IN-BLR-BCPWK | DDC-16 | DDC-16 | RS256_X509 | Device | HVAC/AHU_
DDC-19 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 7F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 738aa8ad-7815-1dd7-ce68-15224fff8449 | IN-BLR-BCPWK | DDC-19 | DDC-19 | RS256_X509 | Device | HVAC/AHU_
DDC-18 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 7F-SOUTH-WING-AHU-02 | 10 | 10 | 10 | a3a856b9-62ee-3650-b1cb-f3a982029785 | IN-BLR-BCPWK | DDC-18 | DDC-18 | RS256_X509 | Device | HVAC/AHU_
DDC-21 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 8F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 02996c1f-fb6f-631b-34e5-85c1ebff1c3e | IN-BLR-BCPWK | DDC-21 | DDC-21 | RS256_X509 | Device | HVAC/AHU_
DDC-20 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 8F-SOUTH-WING-AHU-02 | 10 | 10 | 10 | fed4c4ba-49c1-cd1b-e217-43843841b61a | IN-BLR-BCPWK | DDC-20 | DDC-20 | RS256_X509 | Device | HVAC/AHU_
DDC-25 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 9F-NORTH-WING-AHU-04 | 10 | 10 | 10 | 32997ea0-f344-d7f5-80ad-94774b7efe3b | IN-BLR-BCPWK | DDC-25 | DDC-25 | RS256_X509 | Device | HVAC/AHU_
DDC-24 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 9F-SOUTH-WING-AHU-05 | 10 | 10 | 10 | db14d9f4-f575-400c-2a51-9c0b8a518470 | IN-BLR-BCPWK | DDC-24 | DDC-24 | RS256_X509 | Device | HVAC/AHU_
DDC-23 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 9F-NORTH-WING-AHU-04 | 10 | 10 | 10 | e7fce67c-d2e9-0828-d29c-8a0ad4fb2dc9 | IN-BLR-BCPWK | DDC-23 | DDC-23 | RS256_X509 | Device | HVAC/AHU_
DDC-22 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 9F-SOUTH-WING-AHU-05 | 10 | 10 | 10 | 3d5b5423-8042-3128-900f-96f89bc0db9c | IN-BLR-BCPWK | DDC-22 | DDC-22 | RS256_X509 | Device | HVAC/AHU_
DDC-1112 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 4F-UPS-RM | 10 | 10 | 10 | b7ec95dc-7617-e390-ec6e-0658145d8a3a | IN-BLR-BCPWK | DDC-1112 | DDC-1112 | RS256_X509 | Device | HVAC/AHU_
DDC-1 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | UB | 10 | 10 | 10 | b966d1b7-3a1a-1e65-70f9-79dc3aab9f93 | IN-BLR-BCPWK | DDC-1 | DDC-1 | RS256_X509 | Device | HVAC/AHU_
DDC-2 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | UB | 10 | 10 | 10 | 8b5f7d41-0239-3468-9b2d-2e3a66ed212e | IN-BLR-BCPWK | DDC-2 | DDC-2 | RS256_X509 | Device | HVAC/AHU_
DDC-3 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 1F-ELECTRICAL-ROOM | 10 | 10 | 10 | c8aa1633-7791-0735-d406-587a8028e850 | IN-BLR-BCPWK | DDC-3 | DDC-3 | RS256_X509 | Device | HVAC/AHU_
DDC-12 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 4F-BATTERY-ROOM | 10 | 10 | 10 | 6705284d-e4d1-3abb-4675-cc65fa32d1fd | IN-BLR-BCPWK | DDC-12 | DDC-12 | RS256_X509 | Device | HVAC/AHU_
DDC-10 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 3F-SERVICE-BALCONY | 10 | 10 | 10 | 90e1fdf2-819e-425b-889a-5e2632a1a898 | IN-BLR-BCPWK | DDC-10 | DDC-10 | RS256_X509 | Device | HVAC/AHU_
DDC-26 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 9F-DDC-26-FRESH-AIR-FAN-NORTH | 10 | 10 | 10 | 2d2485e4-52fc-3736-924f-1a696e3c0ca2 | IN-BLR-BCPWK | DDC-26 | DDC-26 | RS256_X509 | Device | HVAC/AHU_
DDC-27 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 9F-DDC-27-MK-EXHAUST-FAN | 10 | 10 | 10 | 53b3bec4-606b-7423-93f4-d128facce8f5 | IN-BLR-BCPWK | DDC-27 | DDC-27 | RS256_X509 | Device | HVAC/AHU_
DDC-28 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 9F-DDC-28-AHU-FRESH-FAN-SOUTH | 10 | 10 | 10 | 07e8f1c0-fa8f-1013-204f-90623fe2dcb5 | IN-BLR-BCPWK | DDC-28 | DDC-28 | RS256_X509 | Device | HVAC/AHU_
DDC-29 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 9F-DDC-29-KITCHEN-FRESH-FAN-UNIT | 10 | 10 | 10 | 066079eb-cd19-652e-83c9-46fc541b4ded | IN-BLR-BCPWK | DDC-29 | DDC-29 | RS256_X509 | Device | HVAC/AHU_
DDC-30 | 1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 9F-DDC-30-KITCHEN-EXHAUST-FAN-UNIT | 10 | 10 | 10 | 2f5bed12-f92d-344f-38b8-50f2278c97a5 | IN-BLR-BCPWK | DDC-30 | DDC-30 | RS256_X509 | Device | HVAC/AHU_

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
DDC-7 | supply_fan_run_mode | No-units
DDC-7 | supply_fan_speed_mode | No-units
DDC-7 | supply_fan_run_command | No-units
DDC-7 | supply_fan_run_status | No-units
DDC-7 | supply_fan_lost_power_alarm | No-units
DDC-7 | supply_fan_speed_percentage_cmd | percent
DDC-7 | filter_differential_pressure_sen | pascals
DDC-7 | supply_air_temperature_sensor | degrees_celsius
DDC-7 | supply_air_static_pressure_sen | pascals
DDC-7 | chilled_water_valve_percent_cmd | percent
DDC-7 | chilled_water_valve_percent_sen | percent
DDC-7 | supply_air_isolation_dam_sts_1 | No-units
DDC-7 | supply_air_temp_setpoint | degrees_celsius
DDC-7 | supply_air_static_pressure_setpo | pascals
DDC-7 | return_air_co2_concentration_set | parts_per_million
DDC-7 | schedule_run_command | No-units
DDC-7 | return_air_isolation_dam_sts_1 | No-units
DDC-6 | supply_fan_run_mode | No-units
DDC-6 | supply_fan_speed_mode | No-units
DDC-6 | supply_fan_run_command | No-units
DDC-6 | supply_fan_run_status | No-units
DDC-6 | supply_fan_lost_power_alarm | No-units
DDC-6 | supply_fan_speed_percentage_cmd | percent
DDC-6 | filter_differential_pressure_sen | pascals
DDC-6 | supply_air_temperature_sensor | degrees_celsius
DDC-6 | supply_air_static_pressure_sen | pascals
DDC-6 | chilled_water_valve_percent_cmd | percent
DDC-6 | chilled_water_valve_percent_sen | percent
DDC-6 | supply_air_isolation_dam_sts_1 | No-units
DDC-6 | supply_air_temp_setpoint | degrees_celsius
DDC-6 | supply_air_static_pressure_setpo | pascals
DDC-6 | return_air_co2_concentration_set | parts_per_million
DDC-6 | schedule_run_command | No-units
DDC-6 | return_air_isolation_dam_sts_1 | No-units
DDC-6 | return_air_temperature_sensor | degrees_celsius
DDC-6 | return_air_co2_concentration_sen | parts_per_million
DDC-6 | return_air_relative_humidity_sen | percent
DDC-4 | supply_fan_run_mode | No-units
DDC-4 | supply_fan_speed_mode | No-units
DDC-4 | supply_fan_run_command | No-units
DDC-4 | supply_fan_run_status | No-units
DDC-4 | supply_fan_lost_power_alarm | No-units
DDC-4 | supply_fan_speed_percentage_cmd | percent
DDC-4 | filter_differential_pressure_sen | pascals
DDC-4 | supply_air_temperature_sensor | degrees_celsius
DDC-4 | supply_air_static_pressure_sen | pascals
DDC-4 | chilled_water_valve_percent_cmd | percent
DDC-4 | chilled_water_valve_percent_sen | percent
DDC-4 | supply_air_isolation_dam_sts_1 | No-units
DDC-4 | supply_air_temp_setpoint | degrees_celsius
DDC-4 | supply_air_static_pressure_setpo | pascals
DDC-4 | return_air_co2_concentration_set | parts_per_million
DDC-4 | schedule_run_command | No-units
DDC-4 | return_air_isolation_dam_sts_1 | No-units
DDC-4 | return_air_temperature_sensor | degrees_celsius
DDC-4 | return_air_co2_concentration_sen | parts_per_million
DDC-4 | return_air_relative_humidity_sen | percent
DDC-5 | supply_fan_run_mode | No-units
DDC-5 | supply_fan_speed_mode | No-units
DDC-5 | supply_fan_run_command | No-units
DDC-5 | supply_fan_run_status | No-units
DDC-5 | supply_fan_lost_power_alarm | No-units
DDC-5 | supply_fan_speed_percentage_cmd | percent
DDC-5 | filter_differential_pressure_sen | pascals
DDC-5 | supply_air_temperature_sensor | degrees_celsius
DDC-5 | supply_air_static_pressure_sen | pascals
DDC-5 | chilled_water_valve_percent_cmd | percent
DDC-5 | chilled_water_valve_percent_sen | percent
DDC-5 | supply_air_isolation_dam_sts_1 | No-units
DDC-5 | supply_air_temp_setpoint | degrees_celsius
DDC-5 | supply_air_static_pressure_setpo | pascals
DDC-5 | return_air_co2_concentration_set | parts_per_million
DDC-5 | schedule_run_command | No-units
DDC-5 | return_air_isolation_dam_sts_1 | No-units
DDC-9 | supply_fan_run_mode | No-units
DDC-9 | supply_fan_speed_mode | No-units
DDC-9 | supply_fan_run_command | No-units
DDC-9 | supply_fan_run_status | No-units
DDC-9 | supply_fan_lost_power_alarm | No-units
DDC-9 | supply_fan_speed_percentage_cmd | percent
DDC-9 | filter_differential_pressure_sen | pascals
DDC-9 | supply_air_temperature_sensor | degrees_celsius
DDC-9 | supply_air_static_pressure_sen | pascals
DDC-9 | chilled_water_valve_percent_cmd | percent
DDC-9 | chilled_water_valve_percent_sen | percent
DDC-9 | supply_air_isolation_dam_sts_1 | No-units
DDC-9 | supply_air_temp_setpoint | degrees_celsius
DDC-9 | supply_air_static_pressure_setpo | pascals
DDC-9 | return_air_co2_concentration_set | parts_per_million
DDC-9 | schedule_run_command | No-units
DDC-9 | return_air_isolation_dam_sts_1 | No-units
DDC-9 | return_air_temperature_sensor | degrees_celsius
DDC-9 | return_air_co2_concentration_sen | parts_per_million
DDC-9 | return_air_relative_humidity_sen | percent
DDC-8 | supply_fan_run_mode | No-units
DDC-8 | supply_fan_speed_mode | No-units
DDC-8 | supply_fan_run_command | No-units
DDC-8 | supply_fan_run_status | No-units
DDC-8 | supply_fan_lost_power_alarm | No-units
DDC-8 | supply_fan_speed_percentage_cmd | percent
DDC-8 | filter_differential_pressure_sen | pascals
DDC-8 | supply_air_temperature_sensor | degrees_celsius
DDC-8 | supply_air_static_pressure_sen | pascals
DDC-8 | chilled_water_valve_percent_cmd | percent
DDC-8 | chilled_water_valve_percent_sen | percent
DDC-8 | supply_air_isolation_dam_sts_1 | No-units
DDC-8 | supply_air_temp_setpoint | degrees_celsius
DDC-8 | supply_air_static_pressure_setpo | pascals
DDC-8 | return_air_co2_concentration_set | parts_per_million
DDC-8 | schedule_run_command | No-units
DDC-8 | return_air_isolation_dam_sts_1 | No-units
DDC-8 | return_air_temperature_sensor | degrees_celsius
DDC-8 | return_air_co2_concentration_sen | parts_per_million
DDC-8 | return_air_relative_humidity_sen | percent
DDC-13 | supply_fan_run_mode | No-units
DDC-13 | supply_fan_speed_mode | No-units
DDC-13 | supply_fan_run_command | No-units
DDC-13 | supply_fan_run_status | No-units
DDC-13 | supply_fan_lost_power_alarm | No-units
DDC-13 | supply_fan_speed_percentage_cmd | percent
DDC-13 | filter_differential_pressure_sen | pascals
DDC-13 | supply_air_temperature_sensor | degrees_celsius
DDC-13 | supply_air_static_pressure_sen | pascals
DDC-13 | chilled_water_valve_percent_cmd | percent
DDC-13 | chilled_water_valve_percent_sen | percent
DDC-13 | supply_air_isolation_dam_sts_1 | No-units
DDC-13 | supply_air_temp_setpoint | degrees_celsius
DDC-13 | supply_air_static_pressure_setpo | pascals
DDC-13 | return_air_co2_concentration_set | parts_per_million
DDC-13 | schedule_run_command | No-units
DDC-13 | return_air_isolation_dam_sts_1 | No-units
DDC-13 | return_air_temperature_sensor | degrees_celsius
DDC-13 | return_air_co2_concentration_sen | parts_per_million
DDC-13 | return_air_relative_humidity_sen | percent
DDC-1111 | supply_fan_run_mode | No-units
DDC-1111 | supply_fan_speed_mode | No-units
DDC-1111 | supply_fan_run_command | No-units
DDC-1111 | supply_fan_run_status | No-units
DDC-1111 | supply_fan_lost_power_alarm | No-units
DDC-1111 | supply_fan_speed_percentage_cmd | percent
DDC-1111 | filter_differential_pressure_sen | pascals
DDC-1111 | supply_air_temperature_sensor | degrees_celsius
DDC-1111 | supply_air_static_pressure_sen | pascals
DDC-1111 | chilled_water_valve_percent_cmd | percent
DDC-1111 | chilled_water_valve_percent_sen | percent
DDC-1111 | supply_air_isolation_dam_sts_1 | No-units
DDC-1111 | supply_air_temp_setpoint | degrees_celsius
DDC-1111 | supply_air_static_pressure_setpo | pascals
DDC-1111 | return_air_co2_concentration_set | parts_per_million
DDC-1111 | schedule_run_command | No-units
DDC-1111 | return_air_isolation_dam_sts_1 | No-units
DDC-1111 | return_air_temperature_sensor | degrees_celsius
DDC-1111 | return_air_co2_concentration_sen | parts_per_million
DDC-1111 | return_air_relative_humidity_sen | percent
DDC-15 | supply_fan_run_mode | No-units
DDC-15 | supply_fan_speed_mode | No-units
DDC-15 | supply_fan_run_command | No-units
DDC-15 | supply_fan_run_status | No-units
DDC-15 | supply_fan_lost_power_alarm | No-units
DDC-15 | supply_fan_speed_percentage_cmd | percent
DDC-15 | filter_differential_pressure_sen | pascals
DDC-15 | supply_air_temperature_sensor | degrees_celsius
DDC-15 | supply_air_static_pressure_sen | pascals
DDC-15 | chilled_water_valve_percent_cmd | percent
DDC-15 | chilled_water_valve_percent_sen | percent
DDC-15 | supply_air_isolation_dam_sts_1 | No-units
DDC-15 | supply_air_temp_setpoint | degrees_celsius
DDC-15 | supply_air_static_pressure_setpo | pascals
DDC-15 | return_air_co2_concentration_set | parts_per_million
DDC-15 | schedule_run_command | No-units
DDC-15 | return_air_isolation_dam_sts_1 | No-units
DDC-15 | return_air_temperature_sensor | degrees_celsius
DDC-15 | return_air_co2_concentration_sen | parts_per_million
DDC-15 | return_air_relative_humidity_sen | percent
DDC-14 | supply_fan_run_mode | No-units
DDC-14 | supply_fan_speed_mode | No-units
DDC-14 | supply_fan_run_command | No-units
DDC-14 | supply_fan_run_status | No-units
DDC-14 | supply_fan_lost_power_alarm | No-units
DDC-14 | supply_fan_speed_percentage_cmd | percent
DDC-14 | filter_differential_pressure_sen | pascals
DDC-14 | supply_air_temperature_sensor | degrees_celsius
DDC-14 | supply_air_static_pressure_sen | pascals
DDC-14 | chilled_water_valve_percent_cmd | percent
DDC-14 | chilled_water_valve_percent_sen | percent
DDC-14 | supply_air_isolation_dam_sts_1 | No-units
DDC-14 | supply_air_temp_setpoint | degrees_celsius
DDC-14 | supply_air_static_pressure_setpo | pascals
DDC-14 | return_air_co2_concentration_set | parts_per_million
DDC-14 | schedule_run_command | No-units
DDC-14 | return_air_isolation_dam_sts_1 | No-units
DDC-14 | return_air_temperature_sensor | degrees_celsius
DDC-14 | return_air_co2_concentration_sen | parts_per_million
DDC-14 | return_air_relative_humidity_sen | percent
DDC-17 | supply_fan_run_mode | No-units
DDC-17 | supply_fan_speed_mode | No-units
DDC-17 | supply_fan_run_command | No-units
DDC-17 | supply_fan_run_status | No-units
DDC-17 | supply_fan_lost_power_alarm | No-units
DDC-17 | supply_fan_speed_percentage_cmd | percent
DDC-17 | filter_differential_pressure_sen | pascals
DDC-17 | supply_air_temperature_sensor | degrees_celsius
DDC-17 | supply_air_static_pressure_sen | pascals
DDC-17 | chilled_water_valve_percent_cmd | percent
DDC-17 | chilled_water_valve_percent_sen | percent
DDC-17 | supply_air_isolation_dam_sts_1 | No-units
DDC-17 | supply_air_temp_setpoint | degrees_celsius
DDC-17 | supply_air_static_pressure_setpo | pascals
DDC-17 | return_air_co2_concentration_set | parts_per_million
DDC-17 | schedule_run_command | No-units
DDC-17 | return_air_isolation_dam_sts_1 | No-units
DDC-17 | return_air_temperature_sensor | degrees_celsius
DDC-17 | return_air_co2_concentration_sen | parts_per_million
DDC-17 | return_air_relative_humidity_sen | percent
DDC-16 | supply_fan_run_mode | No-units
DDC-16 | supply_fan_speed_mode | No-units
DDC-16 | supply_fan_run_command | No-units
DDC-16 | supply_fan_run_status | No-units
DDC-16 | supply_fan_lost_power_alarm | No-units
DDC-16 | supply_fan_speed_percentage_cmd | percent
DDC-16 | filter_differential_pressure_sen | pascals
DDC-16 | supply_air_temperature_sensor | degrees_celsius
DDC-16 | supply_air_static_pressure_sen | pascals
DDC-16 | chilled_water_valve_percent_cmd | percent
DDC-16 | chilled_water_valve_percent_sen | percent
DDC-16 | supply_air_isolation_dam_sts_1 | No-units
DDC-16 | supply_air_temp_setpoint | degrees_celsius
DDC-16 | supply_air_static_pressure_setpo | pascals
DDC-16 | return_air_co2_concentration_set | parts_per_million
DDC-16 | schedule_run_command | No-units
DDC-16 | return_air_isolation_dam_sts_1 | No-units
DDC-16 | return_air_temperature_sensor | degrees_celsius
DDC-16 | return_air_co2_concentration_sen | parts_per_million
DDC-16 | return_air_relative_humidity_sen | percent
DDC-19 | supply_fan_run_mode | No-units
DDC-19 | supply_fan_speed_mode | No-units
DDC-19 | supply_fan_run_command | No-units
DDC-19 | supply_fan_run_status | No-units
DDC-19 | supply_fan_lost_power_alarm | No-units
DDC-19 | supply_fan_speed_percentage_cmd | percent
DDC-19 | filter_differential_pressure_sen | pascals
DDC-19 | supply_air_temperature_sensor | degrees_celsius
DDC-19 | supply_air_static_pressure_sen | pascals
DDC-19 | chilled_water_valve_percent_cmd | percent
DDC-19 | chilled_water_valve_percent_sen | percent
DDC-19 | supply_air_isolation_dam_sts_1 | No-units
DDC-19 | supply_air_temp_setpoint | degrees_celsius
DDC-19 | supply_air_static_pressure_setpo | pascals
DDC-19 | return_air_co2_concentration_set | parts_per_million
DDC-19 | schedule_run_command | No-units
DDC-19 | return_air_isolation_dam_sts_1 | No-units
DDC-19 | return_air_temperature_sensor | degrees_celsius
DDC-19 | return_air_co2_concentration_sen | parts_per_million
DDC-19 | return_air_relative_humidity_sen | percent
DDC-18 | supply_fan_run_mode | No-units
DDC-18 | supply_fan_speed_mode | No-units
DDC-18 | supply_fan_run_command | No-units
DDC-18 | supply_fan_run_status | No-units
DDC-18 | supply_fan_lost_power_alarm | No-units
DDC-18 | supply_fan_speed_percentage_cmd | percent
DDC-18 | filter_differential_pressure_sen | pascals
DDC-18 | supply_air_temperature_sensor | degrees_celsius
DDC-18 | supply_air_static_pressure_sen | pascals
DDC-18 | chilled_water_valve_percent_cmd | percent
DDC-18 | chilled_water_valve_percent_sen | percent
DDC-18 | supply_air_isolation_dam_sts_1 | No-units
DDC-18 | supply_air_temp_setpoint | degrees_celsius
DDC-18 | supply_air_static_pressure_setpo | pascals
DDC-18 | return_air_co2_concentration_set | parts_per_million
DDC-18 | schedule_run_command | No-units
DDC-18 | return_air_isolation_dam_sts_1 | No-units
DDC-18 | return_air_temperature_sensor | degrees_celsius
DDC-18 | return_air_co2_concentration_sen | parts_per_million
DDC-18 | return_air_relative_humidity_sen | percent
DDC-21 | supply_fan_run_mode | No-units
DDC-21 | supply_fan_speed_mode | No-units
DDC-21 | supply_fan_run_command | No-units
DDC-21 | supply_fan_run_status | No-units
DDC-21 | supply_fan_lost_power_alarm | No-units
DDC-21 | supply_fan_speed_percentage_cmd | percent
DDC-21 | filter_differential_pressure_sen | pascals
DDC-21 | supply_air_temperature_sensor | degrees_celsius
DDC-21 | supply_air_static_pressure_sen | pascals
DDC-21 | chilled_water_valve_percent_cmd | percent
DDC-21 | chilled_water_valve_percent_sen | percent
DDC-21 | supply_air_isolation_dam_sts_1 | No-units
DDC-21 | supply_air_temp_setpoint | degrees_celsius
DDC-21 | supply_air_static_pressure_setpo | pascals
DDC-21 | return_air_co2_concentration_set | parts_per_million
DDC-21 | schedule_run_command | No-units
DDC-21 | return_air_isolation_dam_sts_1 | No-units
DDC-21 | return_air_temperature_sensor | degrees_celsius
DDC-21 | return_air_co2_concentration_sen | parts_per_million
DDC-21 | return_air_relative_humidity_sen | percent
DDC-20 | supply_fan_run_mode | No-units
DDC-20 | supply_fan_speed_mode | No-units
DDC-20 | supply_fan_run_command | No-units
DDC-20 | supply_fan_run_status | No-units
DDC-20 | supply_fan_lost_power_alarm | No-units
DDC-20 | supply_fan_speed_percentage_cmd | percent
DDC-20 | filter_differential_pressure_sen | pascals
DDC-20 | supply_air_temperature_sensor | degrees_celsius
DDC-20 | supply_air_static_pressure_sen | pascals
DDC-20 | chilled_water_valve_percent_cmd | percent
DDC-20 | chilled_water_valve_percent_sen | percent
DDC-20 | supply_air_isolation_dam_sts_1 | No-units
DDC-20 | supply_air_temp_setpoint | degrees_celsius
DDC-20 | supply_air_static_pressure_setpo | pascals
DDC-20 | return_air_co2_concentration_set | parts_per_million
DDC-20 | schedule_run_command | No-units
DDC-20 | return_air_isolation_dam_sts_1 | No-units
DDC-20 | return_air_temperature_sensor | degrees_celsius
DDC-20 | return_air_co2_concentration_sen | parts_per_million
DDC-20 | return_air_relative_humidity_sen | percent
DDC-25 | supply_fan_run_mode | No-units
DDC-25 | supply_fan_speed_mode | No-units
DDC-25 | supply_fan_run_command | No-units
DDC-25 | supply_fan_run_status | No-units
DDC-25 | supply_fan_lost_power_alarm | No-units
DDC-25 | supply_fan_speed_percentage_cmd | percent
DDC-25 | filter_differential_pressure_sen | pascals
DDC-25 | supply_air_temperature_sensor | degrees_celsius
DDC-25 | supply_air_static_pressure_sen | pascals
DDC-25 | chilled_water_valve_percent_cmd | percent
DDC-25 | chilled_water_valve_percent_sen | percent
DDC-25 | supply_air_isolation_dam_sts_1 | No-units
DDC-25 | supply_air_temp_setpoint | degrees_celsius
DDC-25 | supply_air_static_pressure_setpo | pascals
DDC-25 | return_air_co2_concentration_set | parts_per_million
DDC-25 | schedule_run_command | No-units
DDC-25 | return_air_isolation_dam_sts_1 | No-units
DDC-24 | supply_fan_run_mode | No-units
DDC-24 | supply_fan_speed_mode | No-units
DDC-24 | supply_fan_run_command | No-units
DDC-24 | supply_fan_run_status | No-units
DDC-24 | supply_fan_lost_power_alarm | No-units
DDC-24 | supply_fan_speed_percentage_cmd | percent
DDC-24 | filter_differential_pressure_sen | pascals
DDC-24 | supply_air_temperature_sensor | degrees_celsius
DDC-24 | supply_air_static_pressure_sen | pascals
DDC-24 | chilled_water_valve_percent_cmd | percent
DDC-24 | chilled_water_valve_percent_sen | percent
DDC-24 | supply_air_isolation_dam_sts_1 | No-units
DDC-24 | supply_air_temp_setpoint | degrees_celsius
DDC-24 | supply_air_static_pressure_setpo | pascals
DDC-24 | return_air_co2_concentration_set | parts_per_million
DDC-24 | schedule_run_command | No-units
DDC-24 | return_air_isolation_dam_sts_1 | No-units
DDC-24 | return_air_temperature_sensor | degrees_celsius
DDC-24 | return_air_co2_concentration_sen | parts_per_million
DDC-24 | return_air_relative_humidity_sen | percent
DDC-23 | supply_fan_run_mode | No-units
DDC-23 | supply_fan_speed_mode | No-units
DDC-23 | supply_fan_run_command | No-units
DDC-23 | supply_fan_run_status | No-units
DDC-23 | supply_fan_lost_power_alarm | No-units
DDC-23 | supply_fan_speed_percentage_cmd | percent
DDC-23 | filter_differential_pressure_sen | pascals
DDC-23 | supply_air_temperature_sensor | degrees_celsius
DDC-23 | supply_air_static_pressure_sen | pascals
DDC-23 | chilled_water_valve_percent_cmd | percent
DDC-23 | chilled_water_valve_percent_sen | percent
DDC-23 | supply_air_isolation_dam_sts_1 | No-units
DDC-23 | supply_air_temp_setpoint | degrees_celsius
DDC-23 | supply_air_static_pressure_setpo | pascals
DDC-23 | return_air_co2_concentration_set | parts_per_million
DDC-23 | schedule_run_command | No-units
DDC-23 | return_air_isolation_dam_sts_1 | No-units
DDC-22 | supply_fan_run_mode | No-units
DDC-22 | supply_fan_speed_mode | No-units
DDC-22 | supply_fan_run_command | No-units
DDC-22 | supply_fan_run_status | No-units
DDC-22 | supply_fan_lost_power_alarm | No-units
DDC-22 | supply_fan_speed_percentage_cmd | percent
DDC-22 | filter_differential_pressure_sen | pascals
DDC-22 | supply_air_temperature_sensor | degrees_celsius
DDC-22 | supply_air_static_pressure_sen | pascals
DDC-22 | chilled_water_valve_percent_cmd | percent
DDC-22 | chilled_water_valve_percent_sen | percent
DDC-22 | supply_air_isolation_dam_sts_1 | No-units
DDC-22 | supply_air_temp_setpoint | degrees_celsius
DDC-22 | supply_air_static_pressure_setpo | pascals
DDC-22 | return_air_co2_concentration_set | parts_per_million
DDC-22 | schedule_run_command | No-units
DDC-22 | return_air_isolation_dam_sts_1 | No-units
DDC-22 | return_air_temperature_sensor | degrees_celsius
DDC-22 | return_air_co2_concentration_sen | parts_per_million
DDC-22 | return_air_relative_humidity_sen | percent
DDC-5 | sf_01_run_command | No-units
DDC-5 | sf_01_run_status | No-units
DDC-5 | sf_01_control_mode | No-units
DDC-5 | sf_01_lost_power_alarm | No-units
DDC-7 | sf_02_run_command | No-units
DDC-7 | sf_02_run_status | No-units
DDC-7 | sf_02_control_mode | No-units
DDC-7 | sf_02_lost_power_alarm | No-units
DDC-8 | sf_03_run_command | No-units
DDC-8 | sf_03_run_status | No-units
DDC-8 | sf_03_control_mode | No-units
DDC-8 | sf_03_lost_power_alarm | No-units
DDC-10 | sf_04_run_command | No-units
DDC-10 | sf_04_run_status | No-units
DDC-10 | sf_04_control_mode | No-units
DDC-10 | sf_04_lost_power_alarm | No-units
DDC-1112 | sf_05_run_command | No-units
DDC-1112 | sf_05_run_status | No-units
DDC-1112 | sf_05_control_mode | No-units
DDC-1112 | sf_05_lost_power_alarm | No-units
DDC-14 | sf_06_run_command | No-units
DDC-14 | sf_06_run_status | No-units
DDC-14 | sf_06_control_mode | No-units
DDC-14 | sf_06_lost_power_alarm | No-units
DDC-16 | sf_07_run_command | No-units
DDC-16 | sf_07_run_status | No-units
DDC-16 | sf_07_control_mode | No-units
DDC-16 | sf_07_lost_power_alarm | No-units
DDC-19 | sf_08_run_command | No-units
DDC-19 | sf_08_run_status | No-units
DDC-19 | sf_08_control_mode | No-units
DDC-19 | sf_08_lost_power_alarm | No-units
DDC-23 | sf_09_run_command | No-units
DDC-23 | sf_09_run_status | No-units
DDC-23 | sf_09_control_mode | No-units
DDC-23 | sf_09_lost_power_alarm | No-units
DDC-2 | cb_01_run_status | No-units
DDC-2 | cb_01_lost_power_alarm | No-units
DDC-2 | cb_02_run_status | No-units
DDC-2 | cb_02_lost_power_alarm | No-units
DDC-2 | cb_03_run_status | No-units
DDC-2 | cb_03_lost_power_alarm | No-units
DDC-2 | cb_04_run_status | No-units
DDC-2 | cb_04_lost_power_alarm | No-units
DDC-2 | cb_05_run_status | No-units
DDC-2 | cb_05_lost_power_alarm | No-units
DDC-2 | cb_06_run_status | No-units
DDC-2 | cb_06_lost_power_alarm | No-units
DDC-2 | cb_07_run_status | No-units
DDC-2 | cb_07_lost_power_alarm | No-units
DDC-2 | cb_08_run_status | No-units
DDC-2 | cb_08_lost_power_alarm | No-units
DDC-2 | cb_09_run_status | No-units
DDC-2 | cb_09_lost_power_alarm | No-units
DDC-2 | cb_10_run_status | No-units
DDC-2 | cb_10_lost_power_alarm | No-units
DDC-2 | cb_11_run_status | No-units
DDC-2 | cb_11_lost_power_alarm | No-units
DDC-3 | cb_12_run_status | No-units
DDC-3 | cb_12_lost_power_alarm | No-units
DDC-3 | cb_13_run_status | No-units
DDC-3 | cb_13_lost_power_alarm | No-units
DDC-4 | cb_14_run_status | No-units
DDC-4 | cb_14_lost_power_alarm | No-units
DDC-4 | cb_15_run_status | No-units
DDC-4 | cb_15_lost_power_alarm | No-units
DDC-6 | cb_16_run_status | No-units
DDC-6 | cb_16_lost_power_alarm | No-units
DDC-6 | cb_17_run_status | No-units
DDC-6 | cb_17_lost_power_alarm | No-units
DDC-6 | cb_18_run_status | No-units
DDC-6 | cb_18_lost_power_alarm | No-units
DDC-6 | cb_19_run_status | No-units
DDC-6 | cb_19_lost_power_alarm | No-units
DDC-7 | cb_20_run_status | No-units
DDC-7 | cb_20_lost_power_alarm | No-units
DDC-7 | cb_21_run_status | No-units
DDC-7 | cb_21_lost_power_alarm | No-units
DDC-7 | cb_22_run_status | No-units
DDC-7 | cb_22_lost_power_alarm | No-units
DDC-8 | cb_23_run_status | No-units
DDC-8 | cb_23_lost_power_alarm | No-units
DDC-8 | cb_24_run_status | No-units
DDC-8 | cb_24_lost_power_alarm | No-units
DDC-9 | cb_25_run_status | No-units
DDC-9 | cb_25_lost_power_alarm | No-units
DDC-9 | cb_26_run_status | No-units
DDC-9 | cb_26_lost_power_alarm | No-units
DDC-9 | cb_27_run_status | No-units
DDC-9 | cb_27_lost_power_alarm | No-units
DDC-9 | cb_28_run_status | No-units
DDC-9 | cb_28_lost_power_alarm | No-units
DDC-9 | cb_29_run_status | No-units
DDC-9 | cb_29_lost_power_alarm | No-units
DDC-9 | cb_30_run_status | No-units
DDC-9 | cb_30_lost_power_alarm | No-units
DDC-9 | cb_31_run_status | No-units
DDC-9 | cb_31_lost_power_alarm | No-units
DDC-9 | cb_32_run_status | No-units
DDC-9 | cb_32_lost_power_alarm | No-units
DDC-9 | cb_33_run_status | No-units
DDC-9 | cb_33_lost_power_alarm | No-units
DDC-9 | cb_34_run_status | No-units
DDC-9 | cb_34_lost_power_alarm | No-units
DDC-9 | cb_35_run_status | No-units
DDC-9 | cb_35_lost_power_alarm | No-units
DDC-9 | cb_36_run_status | No-units
DDC-9 | cb_36_lost_power_alarm | No-units
DDC-9 | cb_37_run_status | No-units
DDC-9 | cb_37_lost_power_alarm | No-units
DDC-9 | cb_38_run_status | No-units
DDC-9 | cb_38_lost_power_alarm | No-units
DDC-9 | cb_39_run_status | No-units
DDC-9 | cb_39_lost_power_alarm | No-units
DDC-9 | cb_40_run_status | No-units
DDC-9 | cb_40_lost_power_alarm | No-units
DDC-9 | cb_41_run_status | No-units
DDC-9 | cb_41_lost_power_alarm | No-units
DDC-9 | cb_42_run_status | No-units
DDC-9 | cb_42_lost_power_alarm | No-units
DDC-9 | cb_43_run_status | No-units
DDC-9 | cb_43_lost_power_alarm | No-units
DDC-9 | cb_44_run_status | No-units
DDC-9 | cb_44_lost_power_alarm | No-units
DDC-1111 | cb_45_run_status | No-units
DDC-1111 | cb_45_lost_power_alarm | No-units
DDC-1112 | cb_46_run_status | No-units
DDC-1112 | cb_46_lost_power_alarm | No-units
DDC-1112 | cb_47_run_status | No-units
DDC-1112 | cb_47_lost_power_alarm | No-units
DDC-1112 | cb_48_run_status | No-units
DDC-1112 | cb_48_lost_power_alarm | No-units
DDC-1112 | cb_49_run_status | No-units
DDC-1112 | cb_49_lost_power_alarm | No-units
DDC-1112 | cb_50_run_status | No-units
DDC-1112 | cb_50_lost_power_alarm | No-units
DDC-1112 | cb_51_run_status | No-units
DDC-1112 | cb_51_lost_power_alarm | No-units
DDC-1112 | cb_52_run_status | No-units
DDC-1112 | cb_52_lost_power_alarm | No-units
DDC-1112 | cb_53_run_status | No-units
DDC-1112 | cb_53_lost_power_alarm | No-units
DDC-1112 | cb_54_run_status | No-units
DDC-1112 | cb_54_lost_power_alarm | No-units
DDC-1112 | cb_55_run_status | No-units
DDC-1112 | cb_55_lost_power_alarm | No-units
DDC-1112 | cb_56_run_status | No-units
DDC-1112 | cb_56_lost_power_alarm | No-units
DDC-1112 | cb_57_run_status | No-units
DDC-1112 | cb_57_lost_power_alarm | No-units
DDC-1112 | cb_58_run_status | No-units
DDC-1112 | cb_58_lost_power_alarm | No-units
DDC-1112 | cb_59_run_status | No-units
DDC-1112 | cb_59_lost_power_alarm | No-units
DDC-1112 | cb_60_run_status | No-units
DDC-1112 | cb_60_lost_power_alarm | No-units
DDC-1112 | cb_61_run_status | No-units
DDC-1112 | cb_61_lost_power_alarm | No-units
DDC-1112 | cb_62_run_status | No-units
DDC-1112 | cb_62_lost_power_alarm | No-units
DDC-1112 | cb_63_run_status | No-units
DDC-1112 | cb_63_lost_power_alarm | No-units
DDC-1112 | cb_64_run_status | No-units
DDC-1112 | cb_64_lost_power_alarm | No-units
DDC-1112 | cb_65_run_status | No-units
DDC-1112 | cb_65_lost_power_alarm | No-units
DDC-1112 | cb_66_run_status | No-units
DDC-1112 | cb_66_lost_power_alarm | No-units
DDC-1112 | cb_67_run_status | No-units
DDC-1112 | cb_67_lost_power_alarm | No-units
DDC-1112 | cb_68_run_status | No-units
DDC-1112 | cb_68_lost_power_alarm | No-units
DDC-1112 | cb_69_run_status | No-units
DDC-1112 | cb_69_lost_power_alarm | No-units
DDC-1112 | cb_70_run_status | No-units
DDC-1112 | cb_70_lost_power_alarm | No-units
DDC-1112 | cb_71_run_status | No-units
DDC-1112 | cb_71_lost_power_alarm | No-units
DDC-1112 | cb_72_run_status | No-units
DDC-1112 | cb_72_lost_power_alarm | No-units
DDC-1112 | cb_73_run_status | No-units
DDC-1112 | cb_73_lost_power_alarm | No-units
DDC-1111 | cb_74_run_status | No-units
DDC-1111 | cb_74_lost_power_alarm | No-units
DDC-1111 | cb_75_run_status | No-units
DDC-1111 | cb_75_lost_power_alarm | No-units
DDC-1111 | cb_76_run_status | No-units
DDC-1111 | cb_76_lost_power_alarm | No-units
DDC-1111 | cb_77_run_status | No-units
DDC-1111 | cb_77_lost_power_alarm | No-units
DDC-1111 | cb_78_run_status | No-units
DDC-1111 | cb_78_lost_power_alarm | No-units
DDC-1111 | cb_79_run_status | No-units
DDC-1111 | cb_79_lost_power_alarm | No-units
DDC-1111 | cb_80_run_status | No-units
DDC-1111 | cb_80_lost_power_alarm | No-units
DDC-1111 | cb_81_run_status | No-units
DDC-1111 | cb_81_lost_power_alarm | No-units
DDC-1111 | cb_82_run_status | No-units
DDC-1111 | cb_82_lost_power_alarm | No-units
DDC-1111 | cb_83_run_status | No-units
DDC-1111 | cb_83_lost_power_alarm | No-units
DDC-1111 | cb_84_run_status | No-units
DDC-1111 | cb_84_lost_power_alarm | No-units
DDC-1111 | cb_85_run_status | No-units
DDC-1111 | cb_85_lost_power_alarm | No-units
DDC-1111 | cb_86_run_status | No-units
DDC-1111 | cb_86_lost_power_alarm | No-units
DDC-1111 | cb_87_run_status | No-units
DDC-1111 | cb_87_lost_power_alarm | No-units
DDC-1111 | cb_88_run_status | No-units
DDC-1111 | cb_88_lost_power_alarm | No-units
DDC-1111 | cb_89_run_status | No-units
DDC-1111 | cb_89_lost_power_alarm | No-units
DDC-1111 | cb_90_run_status | No-units
DDC-1111 | cb_90_lost_power_alarm | No-units
DDC-1112 | cb_91_run_status | No-units
DDC-1112 | cb_91_lost_power_alarm | No-units
DDC-1112 | cb_92_run_status | No-units
DDC-1112 | cb_92_lost_power_alarm | No-units
DDC-1112 | cb_93_run_status | No-units
DDC-1112 | cb_93_lost_power_alarm | No-units
DDC-1112 | cb_94_run_status | No-units
DDC-1112 | cb_94_lost_power_alarm | No-units
DDC-1112 | cb_95_run_status | No-units
DDC-1112 | cb_95_lost_power_alarm | No-units
DDC-1112 | cb_96_run_status | No-units
DDC-1112 | cb_96_lost_power_alarm | No-units
DDC-1112 | cb_97_run_status | No-units
DDC-1112 | cb_97_lost_power_alarm | No-units
DDC-1112 | cb_98_run_status | No-units
DDC-1112 | cb_98_lost_power_alarm | No-units
DDC-1112 | cb_99_run_status | No-units
DDC-1112 | cb_99_lost_power_alarm | No-units
DDC-1112 | cb_100_run_status | No-units
DDC-1112 | cb_100_lost_power_alarm | No-units
DDC-1112 | cb_101_run_status | No-units
DDC-1112 | cb_101_lost_power_alarm | No-units
DDC-1111 | cb_102_run_status | No-units
DDC-1111 | cb_102_lost_power_alarm | No-units
DDC-1111 | cb_103_run_status | No-units
DDC-1111 | cb_103_lost_power_alarm | No-units
DDC-1111 | cb_104_run_status | No-units
DDC-1111 | cb_104_lost_power_alarm | No-units
DDC-1111 | cb_105_run_status | No-units
DDC-1111 | cb_105_lost_power_alarm | No-units
DDC-1111 | cb_106_run_status | No-units
DDC-1111 | cb_106_lost_power_alarm | No-units
DDC-1112 | cb_107_run_status | No-units
DDC-1112 | cb_108_run_status | No-units
DDC-1112 | cb_109_run_status | No-units
DDC-1112 | cb_110_run_status | No-units
DDC-1112 | cb_111_run_status | No-units
DDC-1112 | cb_112_run_status | No-units
DDC-1112 | cb_113_run_status | No-units
DDC-1112 | cb_114_run_status | No-units
DDC-1112 | cb_115_run_status | No-units
DDC-1111 | cb_116_run_status | No-units
DDC-1111 | cb_116_lost_power_alarm | No-units
DDC-1111 | cb_117_run_status | No-units
DDC-1111 | cb_117_lost_power_alarm | No-units
DDC-1111 | cb_118_run_status | No-units
DDC-1111 | cb_118_lost_power_alarm | No-units
DDC-1112 | cb_119_run_status | No-units
DDC-1112 | cb_120_run_status | No-units
DDC-1112 | cb_121_run_status | No-units
DDC-1112 | cb_122_run_status | No-units
DDC-1112 | cb_123_run_status | No-units
DDC-1112 | cb_124_run_status | No-units
DDC-1112 | cb_125_run_status | No-units
DDC-1112 | cb_126_run_status | No-units
DDC-1112 | cb_127_run_status | No-units
DDC-13 | cb_128_run_status | No-units
DDC-13 | cb_128_lost_power_alarm | No-units
DDC-13 | cb_129_run_status | No-units
DDC-13 | cb_129_lost_power_alarm | No-units
DDC-13 | cb_130_run_status | No-units
DDC-13 | cb_130_lost_power_alarm | No-units
DDC-13 | cb_131_run_status | No-units
DDC-13 | cb_131_lost_power_alarm | No-units
DDC-13 | cb_132_run_status | No-units
DDC-13 | cb_132_lost_power_alarm | No-units
DDC-13 | cb_133_run_status | No-units
DDC-13 | cb_133_lost_power_alarm | No-units
DDC-13 | cb_134_run_status | No-units
DDC-13 | cb_134_lost_power_alarm | No-units
DDC-14 | cb_135_run_status | No-units
DDC-14 | cb_135_lost_power_alarm | No-units
DDC-14 | cb_136_run_status | No-units
DDC-14 | cb_136_lost_power_alarm | No-units
DDC-15 | cb_137_run_status | No-units
DDC-15 | cb_137_lost_power_alarm | No-units
DDC-15 | cb_138_run_status | No-units
DDC-15 | cb_138_lost_power_alarm | No-units
DDC-15 | cb_139_run_status | No-units
DDC-15 | cb_139_lost_power_alarm | No-units
DDC-15 | cb_140_run_status | No-units
DDC-15 | cb_140_lost_power_alarm | No-units
DDC-15 | cb_141_run_status | No-units
DDC-15 | cb_141_lost_power_alarm | No-units
DDC-15 | cb_142_run_status | No-units
DDC-15 | cb_142_lost_power_alarm | No-units
DDC-15 | cb_143_run_status | No-units
DDC-15 | cb_143_lost_power_alarm | No-units
DDC-16 | cb_144_run_status | No-units
DDC-16 | cb_144_lost_power_alarm | No-units
DDC-16 | cb_145_run_status | No-units
DDC-16 | cb_145_lost_power_alarm | No-units
DDC-17 | cb_146_run_status | No-units
DDC-17 | cb_146_lost_power_alarm | No-units
DDC-17 | cb_147_run_status | No-units
DDC-17 | cb_147_lost_power_alarm | No-units
DDC-17 | cb_148_run_status | No-units
DDC-17 | cb_148_lost_power_alarm | No-units
DDC-17 | cb_149_run_status | No-units
DDC-17 | cb_149_lost_power_alarm | No-units
DDC-17 | cb_150_run_status | No-units
DDC-17 | cb_150_lost_power_alarm | No-units
DDC-17 | cb_151_run_status | No-units
DDC-17 | cb_151_lost_power_alarm | No-units
DDC-17 | cb_152_run_status | No-units
DDC-17 | cb_152_lost_power_alarm | No-units
DDC-18 | cb_153_run_status | No-units
DDC-18 | cb_153_lost_power_alarm | No-units
DDC-18 | cb_154_run_status | No-units
DDC-18 | cb_154_lost_power_alarm | No-units
DDC-19 | cb_155_run_status | No-units
DDC-19 | cb_155_lost_power_alarm | No-units
DDC-19 | cb_156_run_status | No-units
DDC-19 | cb_156_lost_power_alarm | No-units
DDC-19 | cb_157_run_status | No-units
DDC-19 | cb_157_lost_power_alarm | No-units
DDC-19 | cb_158_run_status | No-units
DDC-19 | cb_158_lost_power_alarm | No-units
DDC-19 | cb_159_run_status | No-units
DDC-19 | cb_159_lost_power_alarm | No-units
DDC-19 | cb_160_run_status | No-units
DDC-19 | cb_160_lost_power_alarm | No-units
DDC-19 | cb_161_run_status | No-units
DDC-19 | cb_161_lost_power_alarm | No-units
DDC-19 | cb_162_run_status | No-units
DDC-19 | cb_162_lost_power_alarm | No-units
DDC-19 | cb_163_run_status | No-units
DDC-19 | cb_163_lost_power_alarm | No-units
DDC-19 | cb_164_run_status | No-units
DDC-19 | cb_164_lost_power_alarm | No-units
DDC-19 | cb_165_run_status | No-units
DDC-19 | cb_165_lost_power_alarm | No-units
DDC-19 | cb_166_run_status | No-units
DDC-19 | cb_166_lost_power_alarm | No-units
DDC-19 | cb_167_run_status | No-units
DDC-19 | cb_167_lost_power_alarm | No-units
DDC-19 | cb_168_run_status | No-units
DDC-19 | cb_168_lost_power_alarm | No-units
DDC-19 | cb_169_run_status | No-units
DDC-19 | cb_169_lost_power_alarm | No-units
DDC-19 | cb_170_run_status | No-units
DDC-19 | cb_170_lost_power_alarm | No-units
DDC-19 | cb_171_run_status | No-units
DDC-19 | cb_171_lost_power_alarm | No-units
DDC-19 | cb_172_run_status | No-units
DDC-19 | cb_172_lost_power_alarm | No-units
DDC-19 | cb_173_run_status | No-units
DDC-19 | cb_173_lost_power_alarm | No-units
DDC-19 | cb_174_run_status | No-units
DDC-19 | cb_174_lost_power_alarm | No-units
DDC-20 | cb_175_run_status | No-units
DDC-20 | cb_175_lost_power_alarm | No-units
DDC-20 | cb_176_run_status | No-units
DDC-20 | cb_176_lost_power_alarm | No-units
DDC-21 | cb_177_run_status | No-units
DDC-21 | cb_177_lost_power_alarm | No-units
DDC-21 | cb_178_run_status | No-units
DDC-21 | cb_178_lost_power_alarm | No-units
DDC-21 | cb_179_run_status | No-units
DDC-21 | cb_179_lost_power_alarm | No-units
DDC-21 | cb_180_run_status | No-units
DDC-21 | cb_180_lost_power_alarm | No-units
DDC-21 | cb_181_run_status | No-units
DDC-21 | cb_181_lost_power_alarm | No-units
DDC-21 | cb_182_run_status | No-units
DDC-21 | cb_182_lost_power_alarm | No-units
DDC-21 | cb_183_run_status | No-units
DDC-21 | cb_183_lost_power_alarm | No-units
DDC-22 | cb_184_run_status | No-units
DDC-22 | cb_184_lost_power_alarm | No-units
DDC-22 | cb_185_run_status | No-units
DDC-22 | cb_185_lost_power_alarm | No-units
DDC-24 | cb_186_run_status | No-units
DDC-24 | cb_186_lost_power_alarm | No-units
DDC-24 | cb_187_run_status | No-units
DDC-24 | cb_187_lost_power_alarm | No-units
DDC-24 | cb_188_run_status | No-units
DDC-24 | cb_188_lost_power_alarm | No-units
DDC-24 | cb_189_run_status | No-units
DDC-24 | cb_189_lost_power_alarm | No-units
DDC-24 | cb_190_run_status | No-units
DDC-24 | cb_190_lost_power_alarm | No-units
DDC-24 | cb_191_run_status | No-units
DDC-24 | cb_191_lost_power_alarm | No-units
DDC-24 | cb_192_run_status | No-units
DDC-24 | cb_192_lost_power_alarm | No-units
DDC-25 | cb_193_run_status | No-units
DDC-25 | cb_193_lost_power_alarm | No-units
DDC-25 | cb_194_run_status | No-units
DDC-25 | cb_194_lost_power_alarm | No-units
DDC-25 | cb_195_run_status | No-units
DDC-25 | cb_195_lost_power_alarm | No-units
DDC-25 | cb_196_run_status | No-units
DDC-25 | cb_196_lost_power_alarm | No-units
DDC-25 | cb_197_run_status | No-units
DDC-25 | cb_197_lost_power_alarm | No-units
DDC-25 | cb_198_run_status | No-units
DDC-25 | cb_198_lost_power_alarm | No-units
DDC-25 | cb_199_run_status | No-units
DDC-25 | cb_199_lost_power_alarm | No-units
DDC-25 | cb_200_run_status | No-units
DDC-25 | cb_200_lost_power_alarm | No-units
DDC-25 | cb_201_run_status | No-units
DDC-25 | cb_201_lost_power_alarm | No-units
DDC-6 | cds_01_zone_air_co2_concen_s | parts_per_million
DDC-9 | cds_02_zone_air_co2_concen_s | parts_per_million
DDC-13 | cds_03_zone_air_co2_concen_s | parts_per_million
DDC-15 | cds_04_zone_air_co2_concen_s | parts_per_million
DDC-17 | cds_05_zone_air_co2_concen_s | parts_per_million
DDC-19 | cds_06_zone_air_co2_concen_s | parts_per_million
DDC-21 | cds_07_zone_air_co2_concen_s | parts_per_million
DDC-24 | cds_08_zone_air_co2_concen_s | parts_per_million
DDC-1 | tps_01_zone_air_temperature_s | degrees_celsius
DDC-1 | tps_02_zone_air_temperature_s | percent
DDC-1 | tps_03_zone_air_temperature_s | degrees_celsius
DDC-1 | tps_04_zone_air_temperature_s | percent
DDC-1 | tps_05_zone_air_temperature_s | degrees_celsius
DDC-1 | tps_06_zone_air_temperature_s | percent
DDC-2 | tps_07_zone_air_temperature_s | degrees_celsius
DDC-2 | tps_08_zone_air_temperature_s | percent
DDC-1 | mts_01_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_01_zone_air_relative_humid_s | percent
DDC-1 | mts_02_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_02_zone_air_relative_humid_s | percent
DDC-2 | mts_03_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_03_zone_air_relative_humid_s | percent
DDC-2 | mts_04_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_04_zone_air_relative_humid_s | percent
DDC-2 | mts_05_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_05_zone_air_relative_humid_s | percent
DDC-2 | mts_06_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_06_zone_air_relative_humid_s | percent
DDC-3 | mts_07_zone_air_temperature_s | degrees_celsius
DDC-3 | mts_07_zone_air_relative_humid_s | percent
DDC-4 | mts_08_zone_air_temperature_s | degrees_celsius
DDC-4 | mts_08_zone_air_relative_humid_s | percent
DDC-4 | mts_09_zone_air_temperature_s | degrees_celsius
DDC-4 | mts_09_zone_air_relative_humid_s | percent
DDC-6 | mts_10_zone_air_temperature_s | degrees_celsius
DDC-6 | mts_10_zone_air_relative_humid_s | percent
DDC-8 | mts_11_zone_air_temperature_s | degrees_celsius
DDC-8 | mts_11_zone_air_relative_humid_s | percent
DDC-8 | mts_12_zone_air_temperature_s | degrees_celsius
DDC-8 | mts_12_zone_air_relative_humid_s | percent
DDC-9 | mts_13_zone_air_temperature_s | degrees_celsius
DDC-9 | mts_13_zone_air_relative_humid_s | percent
DDC-1111 | mts_14_zone_air_temperature_s | degrees_celsius
DDC-1111 | mts_14_zone_air_relative_humid_s | percent
DDC-1111 | mts_15_zone_air_temperature_s | degrees_celsius
DDC-1111 | mts_15_zone_air_relative_humid_s | percent
DDC-1111 | mts_16_zone_air_temperature_s | degrees_celsius
DDC-1111 | mts_16_zone_air_relative_humid_s | percent
DDC-1111 | mts_17_zone_air_temperature_s | degrees_celsius
DDC-1111 | mts_17_zone_air_relative_humid_s | percent
DDC-12 | mts_18_zone_air_temperature_s | degrees_celsius
DDC-12 | mts_18_zone_air_relative_humid_s | percent
DDC-13 | mts_19_zone_air_temperature_s | degrees_celsius
DDC-13 | mts_19_zone_air_relative_humid_s | percent
DDC-14 | mts_20_zone_air_temperature_s | degrees_celsius
DDC-14 | mts_20_zone_air_relative_humid_s | percent
DDC-14 | mts_21_zone_air_temperature_s | degrees_celsius
DDC-14 | mts_21_zone_air_relative_humid_s | percent
DDC-15 | mts_22_zone_air_temperature_s | degrees_celsius
DDC-15 | mts_22_zone_air_relative_humid_s | percent
DDC-15 | mts_23_zone_air_temperature_s | degrees_celsius
DDC-15 | mts_23_zone_air_relative_humid_s | percent
DDC-16 | mts_24_zone_air_temperature_s | degrees_celsius
DDC-16 | mts_24_zone_air_relative_humid_s | percent
DDC-16 | mts_25_zone_air_temperature_s | degrees_celsius
DDC-16 | mts_25_zone_air_relative_humid_s | percent
DDC-17 | mts_26_zone_air_temperature_s | degrees_celsius
DDC-17 | mts_26_zone_air_relative_humid_s | percent
DDC-18 | mts_27_zone_air_temperature_s | degrees_celsius
DDC-18 | mts_27_zone_air_relative_humid_s | percent
DDC-18 | mts_28_zone_air_temperature_s | degrees_celsius
DDC-18 | mts_28_zone_air_relative_humid_s | percent
DDC-19 | mts_29_zone_air_temperature_s | degrees_celsius
DDC-19 | mts_29_zone_air_relative_humid_s | percent
DDC-20 | mts_30_zone_air_temperature_s | degrees_celsius
DDC-20 | mts_30_zone_air_relative_humid_s | percent
DDC-20 | mts_31_zone_air_temperature_s | degrees_celsius
DDC-20 | mts_31_zone_air_relative_humid_s | percent
DDC-21 | mts_32_zone_air_temperature_s | degrees_celsius
DDC-21 | mts_32_zone_air_relative_humid_s | percent
DDC-22 | mts_33_zone_air_temperature_s | degrees_celsius
DDC-22 | mts_33_zone_air_relative_humid_s | percent
DDC-22 | mts_34_zone_air_temperature_s | degrees_celsius
DDC-22 | mts_34_zone_air_relative_humid_s | percent
DDC-24 | mts_35_zone_air_temperature_s | degrees_celsius
DDC-24 | mts_35_zone_air_relative_humid_s | percent
DDC-1 | ef_01_run_command | No-units
DDC-1 | ef_01_run_status | No-units
DDC-1 | ef_01_run_mode | No-units
DDC-1 | ef_01_lost_power_alarm | No-units
DDC-1 | ef_02_run_command | No-units
DDC-1 | ef_02_run_status | No-units
DDC-1 | ef_02_run_mode | No-units
DDC-1 | ef_02_lost_power_alarm | No-units
DDC-1 | ef_03_run_command | No-units
DDC-1 | ef_03_run_status | No-units
DDC-1 | ef_03_run_mode | No-units
DDC-1 | ef_03_lost_power_alarm | No-units
DDC-10 | ef_04_run_command | No-units
DDC-10 | ef_04_run_status | No-units
DDC-10 | ef_04_run_mode | No-units
DDC-10 | ef_04_lost_power_alarm | No-units
DDC-12 | ef_05_run_command | No-units
DDC-12 | ef_05_run_status | No-units
DDC-12 | ef_05_run_mode | No-units
DDC-12 | ef_05_lost_power_alarm | No-units
DDC-2 | fcu_01_discharge_fan_run_status | No-units
DDC-2 | fcu_01_discharge_fan_run_command | No-units
DDC-2 | fcu_01_schedule_run_command | No-units
DDC-2 | fcu_01_discharge_fan_control_mode | No-units
DDC-2 | fcu_01_discharge_fan_speed_mode | No-units
DDC-2 | fcu_01_discharge_fan_speed_percentage_cmd | percent
DDC-2 | fcu_01_discharge_fan_lost_power_alarm | No-units
DDC-2 | fcu_01_return_air_relative_humidity_sen | percent
DDC-2 | fcu_01_return_air_temperature_sensor | degrees_celsius
DDC-2 | fcu_01_discharge_air_temperature_sensor | degrees_celsius
DDC-2 | fcu_01_discharge_air_temp_setpoint | degrees_celsius
DDC-2 | fcu_01_return_air_isolation_dam_sts_1 | No-units
DDC-2 | fcu_01_supply_air_isolation_dam_sts_1 | No-units
DDC-2 | fcu_01_return_air_co2_concentration_set | parts_per_million
DDC-2 | fcu_01_chilled_water_valve_percent_cmd | percent
DDC-2 | fcu_01_chilled_water_valve_percent_sen | percent
DDC-2 | fcu_01_filter_differential_pressure_sen | parts_per_million
DDC-3 | discharge_fan_run_status_02 | No-units
DDC-3 | discharge_fan_run_command_02 | No-units
DDC-3 | schedule_run_command_02 | No-units
DDC-3 | control_mode_02 | No-units
DDC-3 | discharge_fan_speed_mode_02 | No-units
DDC-3 | discharge_fan_speed_perc_cmd_02 | percent
DDC-3 | discharge_fan_lost_power_alm_02 | No-units
DDC-3 | return_air_relative_humidity_sen_02 | percent
DDC-3 | return_air_temperature_sen_02 | degrees_celsius
DDC-3 | discharge_air_temperature_sen_02 | degrees_celsius
DDC-3 | discharge_air_temperature_set_02 | degrees_celsius
DDC-3 | return_air_isolation_dam_sts_1 | No-units
DDC-3 | return_air_co2_concentration_sen_02 | parts_per_million
DDC-3 | return_air_co2_concentration_set_02 | parts_per_million
DDC-3 | chilled_water_valve_percent_cmd_02 | percent
DDC-3 | chilled_water_valve_percent_sen_02 | percent
DDC-3 | filter_differen_pressure_sen_02 | parts_per_million
DDC-3 | supply_air_isolation_dam_sts_1 | No-units
DDC-30 | kexf_01_run_command | No-units
DDC-30 | kexf_01_run_status | No-units
DDC-30 | kexf_01_control_mode | No-units
DDC-30 | kexf_01_speed_percent_cmd | percent
DDC-30 | kexf_02_run_command | No-units
DDC-30 | kexf_02_run_status | No-units
DDC-30 | kexf_02_control_mode | No-units
DDC-30 | kexf_02_speed_percent_cmd | percent
DDC-30 | mkexf_run_status | No-units
DDC-30 | mkexf_run_command | No-units
DDC-30 | mkexf_control_mode | No-units
DDC-30 | mkexf_lost_power_alarn | No-units
DDC-25 | kfaf_01_supply_fan_run_command | No-units
DDC-25 | kfaf_01_supply_fan_run_status | No-units
DDC-25 | kfaf_01_supply_fan_speed_mode | No-units
DDC-25 | kfaf_01_supply_fan_lost_power_al | No-units
DDC-25 | kfaf_02_supply_fan_run_command | No-units
DDC-25 | kfaf_02_supply_fan_run_status | No-units
DDC-25 | kfaf_02_supply_fan_speed_mode | No-units
DDC-25 | kfaf_02_supply_fan_lost_power_al | No-units
DDC-25 | kfaf_02_supply_air_static_pr_sen | parts_per_million
DDC-26 | supply_fan_run_command_01 | No-units
DDC-26 | supply_fan_run_status_01 | No-units
DDC-26 | control_mode_01 | No-units
DDC-26 | supply_air_ssp_sen_01 | parts_per_million
DDC-26 | supply_air_ssp_sp_01 | parts_per_million
DDC-26 | filter_diff_pressure_sen_01 | No-units
DDC-26 | supply_fan_speed_percent_cmd_01 | percent
DDC-26 | supply_fan_lost_power_alarm_01 | No-units
DDC-26 | supply_fan_run_command_02 | No-units
DDC-26 | supply_fan_lost_power_alarm_02 | No-units
DDC-28 | control_mode_02 | No-units
DDC-28 | supply_fan_run_command_02 | No-units
DDC-28 | supply_fan_run_status_02 | No-units
DDC-28 | supply_fan_speed_percent_cmd_02 | percent
DDC-28 | filter_diff_pressure_sen_02 | parts_per_million
DDC-28 | supply_air_ssp_sen_02 | parts_per_million
DDC-28 | supply_air_ssp_sp_02 | parts_per_million
DDC-29 | kfaf_01_filter_diff_pressure_sen | parts_per_million
DDC-29 | kfaf_02_filter_diff_pressure_sen | parts_per_million
DDC-29 | kfaf_01_air_ssp_sen | parts_per_million
DDC-29 | kfaf_02_air_ssp_sp | parts_per_million
DDC-29 | kfaf_01_fan_speed_percent_cmd | percent
DDC-29 | kfaf_02_fan_speed_percent_cmd | percent

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device